## By_State
Bulk power applications to ISTS by state (GW)
State = location of the ISTS substation each application connects to. Values in GW (MW / 1,000). Source: CTUIL GNA register, 19-Oct-2026.
State | Under process | Approved | Total
Gujarat | 17.18 | 1.627 | 18.807
Odisha | 11.275 | 0.432 | 11.707
Andhra Pradesh | 6.273 | 0 | 6.273
Telangana | 4.052 | 0 | 4.052
Maharashtra | 0.65 | 1.518 | 2.168
Rajasthan | 0.15 | 0.22 | 0.37
Chhattisgarh | 0 | 0.36 | 0.36
Madhya Pradesh | 0.21 | 0 | 0.21
Tamil Nadu | 0.205 | 0 | 0.205
Karnataka | 0.12 | 0 | 0.12
Dadra & Nagar Haveli (UT) | 0.05 | 0 | 0.05
Haryana | 0.05 | 0 | 0.05
Uttar Pradesh | 0 | 0.05 | 0.05
Total | 40.215 | 4.207 | 44.422
Check vs CTUIL total (MW) |  |  | 44422

## State_x_Company
Bulk power applications to ISTS - state x company group (GW, approved + under process)
Company = group per your mapping (see Data!B). Values in GW. Blank = no application.
State | Reliance | ACME Cleantech | Adani Group | NTPC* | TCS | ArcelorMittal | SITAC Group | L&T | Rays Power | Hygenco | Hindustan Zinc | Jindal Steel | Jakson Group | Railways | Hira Group | Qubitiq | Bharat Aluminium | Hindalco | Ultratech | Total
Gujarat | 14.55 | 0 | 3.27 | 0 | 0 | 0.487 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.807
Odisha | 0 | 10.1 | 0 | 0 | 0 | 0.432 | 0 | 0 | 0.5 | 0.425 | 0 | 0 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 11.707
Andhra Pradesh | 0 | 0 | 2.323 | 3.5 | 0 | 0 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0 | 0 | 0.05 | 6.273
Telangana | 0 | 0 | 2.402 | 0 | 1.55 | 0 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.052
Maharashtra | 0.05 | 0 | 1.968 | 0 | 0 | 0 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0 | 0 | 0 | 0 | 0 | 2.168
Rajasthan | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0 | 0 | 0 | 0.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37
Chhattisgarh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26 | 0 | 0 | 0 | 0 | 0.1 | 0 | 0 | 0.36
Madhya Pradesh | 0 | 0 | 0 | 0.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0 | 0.21
Tamil Nadu | 0 | 0 | 0 | 0 | 0 | 0 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0.135 | 0 | 0 | 0 | 0 | 0 | 0.205
Karnataka | 0 | 0 | 0 | 0 | 0 | 0 | 0.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12
Dadra & Nagar Haveli (UT) | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05
Haryana | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05
Uttar Pradesh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0.05
Total | 14.65 | 10.1 | 9.963 | 3.61 | 1.55 | 0.919 | 0.64 | 0.5 | 0.5 | 0.425 | 0.27 | 0.26 | 0.25 | 0.235 | 0.15 | 0.15 | 0.1 | 0.1 | 0.05 | 44.422

## Data
Applicant (as filed) | Group | Application no. | Application date | GNA quantum (MW) | Interconnection point (as filed) | State (derived from substation) | Status (as on CTUIL) | Status used
VIZAG HYPERSCALE DATA CENTER PARK LIMITED | Adani Group | 2200003654 | 08-05-2026 | 216 | Gajuwaka Substation | Andhra Pradesh | Under Process | Under Process
VIZAG HYPERSCALE DATA CENTER PARK LIMITED | Adani Group | 2200003655 | 08-05-2026 | 54 | Gajuwaka Substation | Andhra Pradesh | Under Process | Under Process
VIZAG HYPERSCALE DATA CENTER PARK LIMITED | Adani Group | 2200003656 | 08-05-2026 | 54 | Gajuwaka Substation | Andhra Pradesh | Under Process | Under Process
VIZAG HYPERSCALE DATA CENTER PARK LIMITED | Adani Group | 2200003658 | 08-05-2026 | 54 | Pendurathi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG HYPERSCALE DATA CENTER PARK LIMITED | Adani Group | 2200003661 | 08-05-2026 | 54 | Pendurthi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG HYPERSCALE DATA CENTER PARK LIMITED | Adani Group | 2200003662 | 09-05-2026 | 54 | Pendurthi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG HYPERSCALE DATA CENTER PARK LIMITED | Adani Group | 2200003663 | 09-05-2026 | 54 | Pendurthi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG HYPERSCALE DATA CENTER PARK LIMITED | Adani Group | 2200003664 | 09-05-2026 | 157 | Pendurthi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG MEGA DATA CENTER PARK LIMITED | Adani Group | 2200003641 | 07-05-2026 | 270 | Gazuwaka Substation | Andhra Pradesh | Under Process | Under Process
VIZAG MEGA DATA CENTER PARK LIMITED | Adani Group | 2200003642 | 07-05-2026 | 54 | Gazuwaka Substation | Andhra Pradesh | Under Process | Under Process
VIZAG MEGA DATA CENTER PARK LIMITED | Adani Group | 2200003643 | 07-05-2026 | 54 | Gajuwaka Substation | Andhra Pradesh | Under Process | Under Process
VIZAG MEGA DATA CENTER PARK LIMITED | Adani Group | 2200003644 | 07-05-2026 | 54 | Gajuwaka Substation | Andhra Pradesh | Under Process | Under Process
VIZAG MEGA DATA CENTER PARK LIMITED | Adani Group | 2200003645 | 07-05-2026 | 54 | Pendurthi (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG MEGA DATA CENTER PARK LIMITED | Adani Group | 2200003646 | 07-05-2026 | 54 | Pendurthi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG MEGA DATA CENTER PARK LIMITED | Adani Group | 2200003647 | 07-05-2026 | 54 | Pendurthi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG MEGA DATA CENTER PARK LIMITED | Adani Group | 2200003648 | 07-05-2026 | 54 | Pendurthi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG MEGA DATA CENTER PARK LIMITED | Adani Group | 2200003650 | 07-05-2026 | 54 | Pendurthi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG MEGA DATA CENTER PARK LIMITED | Adani Group | 2200003652 | 08-05-2026 | 173 | Pendurthi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG MEGA DATA CENTER PARK LIMITED | Adani Group | 2200003651 | 08-05-2026 | 54 | Pendurthi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG RAMBILLI DATA CENTER PARK LIMITED | Adani Group | 2200003657 | 08-05-2026 | 216 | Gajuwaka Substation | Andhra Pradesh | Under Process | Under Process
VIZAG RAMBILLI DATA CENTER PARK LIMITED | Adani Group | 2200003659 | 08-05-2026 | 54 | Gajuwaka Substation | Andhra Pradesh | Under Process | Under Process
VIZAG RAMBILLI DATA CENTER PARK LIMITED | Adani Group | 2200003660 | 08-05-2026 | 54 | Gajuwaka Substation | Andhra Pradesh | Under Process | Under Process
VIZAG RAMBILLI DATA CENTER PARK LIMITED | Adani Group | 2200003665 | 09-05-2026 | 54 | Pendurthi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG RAMBILLI DATA CENTER PARK LIMITED | Adani Group | 2200003666 | 09-05-2026 | 54 | Pendurthi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG RAMBILLI DATA CENTER PARK LIMITED | Adani Group | 2200003667 | 09-05-2026 | 54 | Pendurthi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG RAMBILLI DATA CENTER PARK LIMITED | Adani Group | 2200003668 | 09-05-2026 | 54 | Pendurthi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
VIZAG RAMBILLI DATA CENTER PARK LIMITED | Adani Group | 2200003669 | 09-05-2026 | 157 | Pendurthi Substation (Proposed) | Andhra Pradesh | Under Process | Under Process
HIRA ELECTRO SMELTERS LIMITED | Hira Group | 2200004351 | 21-09-2026 | 150 | Palasa, 765 kV GIS Srikakulam Substation | Andhra Pradesh | Under Process | Under Process
NTPC GREEN ENERGY LIMITED | NTPC* | 2200001887 | 12-04-2025 | 2500 | Pudimadka,A.P | Andhra Pradesh | (blank) | Under Process
NTPC GREEN ENERGY LIMITED | NTPC* | 2200003870 | 25-06-2026 | 1000 | NTPC SIMHADRI SWITCHYARD | Andhra Pradesh | Under Process | Under Process
QUBITIQ VENTURES PRIVATE LIMITED | Qubitiq | 2200004324 | 06-10-2026 | 150 | VIJAYAWADA | Andhra Pradesh | Under Process | Under Process
DISTINGUISHED CONSULTANCY SOLUTIONS PRIVATE LIMITED | SITAC Group | 2200004188 | 26-08-2026 | 100 | VIJAYAWADA | Andhra Pradesh | Under Process | Under Process
ULTRATECH CEMENT LIMITED | Ultratech | 2200003430 | 05-03-2026 | 50 | KURNOOL -3 ( Nandipadu) | Andhra Pradesh | Under Process | Under Process
BHARAT ALUMINIUM CO LTD | Bharat Aluminium | 2200002088 | 31-05-2025 | 100 | 765/400KV Dharamjaygarh Sub-Station | Chhattisgarh | Approved | Approved
JINDAL STEEL & POWER LIMITED | Jindal Steel | 2200001016 | 19-07-2024 | 260 | POWER GIRD KOTRA | Chhattisgarh | Approved | Approved
RELIANCE INDUSTRIES LIMITED | Reliance | 2200003848 | 15-06-2026 | 50 | PGCIL KALA S/s | Dadra & Nagar Haveli (UT) | Under Process | Under Process
ADANI INFRA (INDIA) LIMITED | Adani Group | 2200003734 | 20-05-2026 | 50 | VATAMAN (NEW) SUBSTATION, Gujarat | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004226 | 03-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, Houwever Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004227 | 03-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, Houwever Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004228 | 03-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, Houwever Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004229 | 03-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, Houwever Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004230 | 03-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, Houwever Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004231 | 03-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, Houwever Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004232 | 03-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, Houwever Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004234 | 03-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, Houwever Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004235 | 03-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, Houwever Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004236 | 03-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, Houwever Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004237 | 03-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, Houwever Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004238 | 03-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, Houwever Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004240 | 04-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, Houwever Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004241 | 04-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, Houwever Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004243 | 04-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, However Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004244 | 04-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, However Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004245 | 04-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, However Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004246 | 04-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, However Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004247 | 04-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, However Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004248 | 04-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, However Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004249 | 04-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, However Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004250 | 04-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, However Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004251 | 04-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, However Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004252 | 04-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, However Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004254 | 04-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, However Nearest Substation is Vataman | Gujarat | Under Process | Under Process
BLUEPARROT PEDESTAL LIMITED | Adani Group | 2200004233 | 24-09-2026 | 80 | LILO of 765kV Halvad-Vataman line, However Nearest Substation is Vataman | Gujarat | Under Process | Under Process
MUNDRA PETROCHEM LIMITED | Adani Group | 2200000124 | 28-06-2023 | 1140 | Navinal (Mundra) (Proposed) | Gujarat | Approved | Approved
ARCELORMITTAL NIPPON STEEL INDIA LIMITED | ArcelorMittal | 2200000362 | 22-11-2023 | 337 | EPTCL 400KV Sub-Station, Hazira, Surat. | Gujarat | Approved | Approved
ARCELORMITTAL NIPPON STEEL INDIA LIMITED | ArcelorMittal | 2200000377 | 05-12-2023 | 150 | EPTCL 400KV Sub-Station, Hazira, Surat | Gujarat | Approved | Approved
L&T GREEN ENERGY KANDLA PRIVATE LIMITED | L&T | 2200003943 | 04-07-2026 | 500 | Kandla (GIS) S/s | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200002406 | 09-09-2025 | 350 | 400/220 KV Jam Khambhaliya (GIS) | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200002407 | 09-09-2025 | 600 | 400/220 KV Jam Khambhaliya (GIS) | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200002408 | 09-09-2025 | 300 | 400/220 KV Jam Khambhaliya (GIS) | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200003847 | 15-06-2026 | 50 | PGCIL Vadodara S/s | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200004129 | 26-08-2026 | 1200 | New S/s near RIL Jamnagar | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200004130 | 26-08-2026 | 1200 | New S/s near RIL Jamnagar | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200004131 | 26-08-2026 | 1200 | New S/s near RIL Jamnagar | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200004132 | 26-08-2026 | 1200 | New S/s near RIL Jamnagar | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200004124 | 26-08-2026 | 1200 | New S/s near RIL Jamnagar | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200004123 | 26-08-2026 | 1200 | New S/s near RIL Jamnagar | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200004122 | 26-08-2026 | 1200 | New S/s near RIL Jamnagar | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200004121 | 26-08-2026 | 1200 | New S/s near RIL Jamnagar | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200004120 | 26-08-2026 | 1200 | New S/s near RIL Jamnagar | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200004119 | 26-08-2026 | 1200 | New S/s near RIL Jamnagar | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200004219 | 03-09-2026 | 300 | 400/220 KV Jam Khambhaliya (GIS) | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200004221 | 03-09-2026 | 350 | 400/220 KV Jam Khambhaliya (GIS) | Gujarat | Under Process | Under Process
RELIANCE INDUSTRIES LIMITED | Reliance | 2200004222 | 03-09-2026 | 600 | 400/220 KV Jam Khambhaliya (GIS) | Gujarat | Under Process | Under Process
IMPECCABLE POWER SOLUTIONS PRIVATE LIMITED | SITAC Group | 2200004187 | 27-08-2026 | 50 | BAHADURGARH | Haryana | Under Process | Under Process
SITAC DC INFRA PRIVATE LIMITED | SITAC Group | 2200004115 | 12-08-2026 | 70 | Bidar | Karnataka | Under Process | Under Process
SITAC DC PRIVATE LIMITED | SITAC Group | 2200004189 | 26-08-2026 | 50 | TUMKUR | Karnataka | Under Process | Under Process
HINDALCO INDUSTRIES LIMITED | Hindalco | 2200000627 | 21-03-2024 | 100 | Vindhyachal Pulling Station | Madhya Pradesh | Under Process | Under Process
NTPC RENEWABLE ENERGY LIMITED | NTPC* | 2200003898 | 26-06-2026 | 110 | Rajgarh(PG) | Madhya Pradesh | Under Process | Under Process
ADANI INFRA (INDIA) LIMITED | Adani Group | 2200003697 | 15-05-2026 | 50 | LILO of 400kV Padghe-Kharghar | Maharashtra | Under Process | Under Process
ADANI INFRA (INDIA) LIMITED | Adani Group | 2200003698 | 15-05-2026 | 50 | LILO of 400kV Padghe-Kharghar | Maharashtra | Under Process | Under Process
ADANI INFRA (INDIA) LIMITED | Adani Group | 2200003699 | 15-05-2026 | 50 | LILO of 400kV Padghe-Kharghar | Maharashtra | Under Process | Under Process
ADANI INFRA (INDIA) LIMITED | Adani Group | 2200003700 | 15-05-2026 | 50 | LILO of 400kV Padghe-Kharghar | Maharashtra | Under Process | Under Process
ADANI INFRA (INDIA) LIMITED | Adani Group | 2200003702 | 15-05-2026 | 50 | LILO of 400kV Padghe-Kharghar | Maharashtra | Under Process | Under Process
ADANI INFRA (INDIA) LIMITED | Adani Group | 2200003703 | 15-05-2026 | 50 | LILO of 400kV Padghe-Kharghar | Maharashtra | Under Process | Under Process
ADANI INFRA (INDIA) LIMITED | Adani Group | 2200003704 | 15-05-2026 | 50 | LILO of 400kV Padghe-Kharghar | Maharashtra | Under Process | Under Process
ADANI INFRA (INDIA) LIMITED | Adani Group | 2200003705 | 15-05-2026 | 50 | LILO of 400kV Padghe-Kharghar | Maharashtra | Under Process | Under Process
ADANI INFRA (INDIA) LIMITED | Adani Group | 2200003706 | 15-05-2026 | 50 | LILO of 400kV Padghe-Kharghar | Maharashtra | Under Process | Under Process
ADANI INFRA (INDIA) LIMITED | Adani Group | 2200003696 | 04-06-2026 | 50 | LILO of 400kV Padghe-Kharghar | Maharashtra | Under Process | Under Process
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200000952 | 02-07-2024 | 50 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200000963 | 02-07-2024 | 50 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200000951 | 02-07-2024 | 50 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200000950 | 02-07-2024 | 50 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200000966 | 02-07-2024 | 50 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200000965 | 02-07-2024 | 50 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200000949 | 02-07-2024 | 50 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200000962 | 02-07-2024 | 50 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200000959 | 02-07-2024 | 50 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200000957 | 02-07-2024 | 50 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200000960 | 02-07-2024 | 50 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200000961 | 02-07-2024 | 50 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200000964 | 02-07-2024 | 50 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200002962 | 12-01-2026 | 418 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200002964 | 12-01-2026 | 74 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200002965 | 12-01-2026 | 174 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
SUPPORT PROPERTIES PRIVATE LIMITED | Adani Group | 2200002966 | 12-01-2026 | 152 | 400KV Power Grid Navi Mumbai (GIS) Substation | Maharashtra | Approved | Approved
fA&CAO Central Railway | Railways | 2200000613 | 19-03-2024 | 50 | Talegaon | Maharashtra | Approved | Approved
RELIANCE INDUSTRIES LIMITED | Reliance | 2200003846 | 15-06-2026 | 50 | LILO at line -'400/220 KV Pune (Talegaon AIS) to RIL Nagothane' | Maharashtra | Under Process | Under Process
VARDHEXA DATA CENTRE PRIVATE LIMITED | SITAC Group | 2200004328 | 16-09-2026 | 100 | PUNE (TALEGAON) | Maharashtra | Under Process | Under Process
ACME CLEANTECH SOLUTIONS PRIVATE LIMITED | ACME Cleantech | 2200003016 | 09-01-2026 | 2000 | Gopalpur | Odisha | Under Process | Under Process
ACME CLEANTECH SOLUTIONS PRIVATE LIMITED | ACME Cleantech | 2200003064 | 23-01-2026 | 1300 | Paradeep | Odisha | Under Process | Under Process
ACME CLEANTECH SOLUTIONS PRIVATE LIMITED | ACME Cleantech | 2200003065 | 23-01-2026 | 3000 | Paradeep | Odisha | Under Process | Under Process
ACME CLEANTECH SOLUTIONS PRIVATE LIMITED | ACME Cleantech | 2200004149 | 18-08-2026 | 800 | Gopalpur 765/400kv ISTS SS | Odisha | Under Process | Under Process
ACME CLEANTECH SOLUTIONS PRIVATE LIMITED | ACME Cleantech | 2200004150 | 18-08-2026 | 800 | Gopalpur 765/400kv ISTS SS | Odisha | Under Process | Under Process
ACME CLEANTECH SOLUTIONS PRIVATE LIMITED | ACME Cleantech | 2200004153 | 18-08-2026 | 1100 | Gopalpur 765/400kv ISTS SS | Odisha | Under Process | Under Process
ACME CLEANTECH SOLUTIONS PRIVATE LIMITED | ACME Cleantech | 2200004156 | 18-08-2026 | 500 | Gopalpur 765/400kv ISTS SS | Odisha | Under Process | Under Process
ACME CLEANTECH SOLUTIONS PRIVATE LIMITED | ACME Cleantech | 2200004376 | 24-09-2026 | 600 | Gopalpur | Odisha | Under Process | Under Process
ARCELORMITTAL NIPPON STEEL INDIA LIMITED | ArcelorMittal | 2200000206 | 28-08-2023 | 432 | Proposed Kendrapara 765kV/400kV substation | Odisha | Approved | Approved
HHP FIVE PRIVATE LIMITED | Hygenco | 2200003897 | 25-06-2026 | 425 | Gopalpur Odisha | Odisha | Under Process | Under Process
JAKSON GREEN GOPALPUR PRIVATE LIMITED | Jakson Group | 2200003901 | 26-06-2026 | 250 | Gopalpur Substation | Odisha | Under Process | Under Process
JIRIBAM SOLAR POWER PRIVATE LIMITED | Rays Power | 2200003971 | 14-07-2026 | 300 | Paradeep | Odisha | Under Process | Under Process
OCIOR ENERGY GOPALPUR ONE PRIVATE LIMITED | Rays Power | 2200003030 | 16-01-2026 | 200 | Gopalpur Substation | Odisha | Under Process | Under Process
HINDUSTAN ZINC LIMITED | Hindustan Zinc | 2200000457 | 13-02-2024 | 50 | Kankroli | Rajasthan | (blank) | Under Process
HINDUSTAN ZINC LIMITED | Hindustan Zinc | 2200001595 | 13-02-2025 | 220 | PGCIL Chittorgarh | Rajasthan | Approved | Approved
ANVORA CLOUD SERVICES PRIVATE LIMITED | SITAC Group | 2200004329 | 16-09-2026 | 100 | BASSI | Rajasthan | Under Process | Under Process
Indian Railways | Railways | 2200002160 | 13-06-2025 | 60 | Salem | Tamil Nadu | Under Process | Under Process
Indian Railways | Railways | 2200002379 | 02-09-2025 | 75 | THIRUVALAM ( KLR - MDS, TOWER NO. 0464 ) | Tamil Nadu | Under Process | Under Process
SITAC DC INFRA PRIVATE LIMITED | SITAC Group | 2200004114 | 12-08-2026 | 70 | Tutticorin II | Tamil Nadu | Under Process | Under Process
CHANDENVALLE INFRA PARK LIMITED | Adani Group | 2200003988 | 03-08-2026 | 66 | LILO of 400kV Doma-Kethireddypally (Nearest Substation is DOMA) | Telangana | Under Process | Under Process
CHANDENVALLE INFRA PARK LIMITED | Adani Group | 2200003992 | 03-08-2026 | 132 | LILO of 400kV Doma-Kethireddypally (Nearest Substation is DOMA) | Telangana | Under Process | Under Process
CHANDENVALLE INFRA PARK LIMITED | Adani Group | 2200003993 | 03-08-2026 | 132 | LILO of 400kV Doma-Kethireddypally (Nearest Substation is DOMA) | Telangana | Under Process | Under Process
CHANDENVALLE INFRA PARK LIMITED | Adani Group | 2200003994 | 03-08-2026 | 132 | LILO of 400kV Doma-Kethireddypally (Nearest Substation is DOMA) | Telangana | Under Process | Under Process
CHANDENVALLE INFRA PARK LIMITED | Adani Group | 2200003996 | 03-08-2026 | 66 | LILO of 400kV Doma-Kethireddypally (Nearest Substation is DOMA) | Telangana | Under Process | Under Process
GIRIDHARI BUILD ESTATE LIMITED | Adani Group | 2200003404 | 26-02-2026 | 63 | Power Grid Maheswaran Substation | Telangana | Under Process | Under Process
GIRIDHARI BUILD ESTATE LIMITED | Adani Group | 2200003406 | 26-02-2026 | 63 | Power Grid Maheswaram Substation | Telangana | Under Process | Under Process
GIRIDHARI BUILD ESTATE LIMITED | Adani Group | 2200003407 | 26-02-2026 | 94 | Power Grid Maheswaram Substation | Telangana | Under Process | Under Process
GIRIDHARI BUILD ESTATE LIMITED | Adani Group | 2200003408 | 26-02-2026 | 94 | Power Grid Maheswaram Substation | Telangana | Under Process | Under Process
GIRIDHARI BUILD ESTATE LIMITED | Adani Group | 2200004005 | 03-08-2026 | 264 | LILO of 765kV Bidar PS- Maheshwaram TL, (From the existing LILO connectivity provided to Granthik and Giridhari ) | Telangana | Under Process | Under Process
GIRIDHARI BUILD ESTATE LIMITED | Adani Group | 2200004004 | 03-08-2026 | 264 | LILO of 765kV Bidar PS- Maheshwaram TL (From the existing LILO connectivity provided to Granthik and Giridhari) | Telangana | Under Process | Under Process
GIRIDHARI BUILD ESTATE LIMITED | Adani Group | 2200004003 | 03-08-2026 | 264 | LILO of 765kV Bidar PS- Maheshwaram TL (From the existing LILO connectivity provided to Granthik and Giridhari) | Telangana | Under Process | Under Process
GIRIDHARI BUILD ESTATE LIMITED | Adani Group | 2200004002 | 03-08-2026 | 66 | LILO of 765kV Bidar PS- Maheshwaram TL (From the existing LILO connectivity provided to Granthik and Giridhari) | Telangana | Under Process | Under Process
GRANTHIK REALTORS PRIVATE LIMITED | Adani Group | 2200003388 | 23-02-2026 | 51 | Power Grid Maheswaram Substation | Telangana | Under Process | Under Process
GRANTHIK REALTORS PRIVATE LIMITED | Adani Group | 2200003390 | 23-02-2026 | 51 | Power Grid Maheswaram Substation | Telangana | Under Process | Under Process
GRANTHIK REALTORS PRIVATE LIMITED | Adani Group | 2200003391 | 23-02-2026 | 72 | Power Grid Maheswaran Substation | Telangana | Under Process | Under Process
MADHUVANTI BUILD ESTATE LIMITED | Adani Group | 2200003997 | 03-08-2026 | 66 | LILO of 400kV Doma-Kethireddypally (Nearest Substation is DOMA) | Telangana | Under Process | Under Process
MADHUVANTI BUILD ESTATE LIMITED | Adani Group | 2200003998 | 03-08-2026 | 132 | LILO of 400kV Doma-Kethireddypally (Nearest Substation is DOMA) | Telangana | Under Process | Under Process
MADHUVANTI BUILD ESTATE LIMITED | Adani Group | 2200003999 | 03-08-2026 | 132 | LILO of 400kV Doma-Kethireddypally (Nearest Substation is DOMA) | Telangana | Under Process | Under Process
MADHUVANTI BUILD ESTATE LIMITED | Adani Group | 2200004000 | 03-08-2026 | 132 | LILO of 400kV Doma-Kethireddypally (Nearest Substation is DOMA) | Telangana | Under Process | Under Process
MADHUVANTI BUILD ESTATE LIMITED | Adani Group | 2200004001 | 03-08-2026 | 66 | LILO of 400kV Doma-Kethireddypally (Nearest Substation is DOMA) | Telangana | Under Process | Under Process
AVRENTA DATA CENTRE PRIVATE LIMITED | SITAC Group | 2200004325 | 18-09-2026 | 100 | MAHESHWARAM | Telangana | Under Process | Under Process
HYPERVAULT AI DATA CENTER LIMITED | TCS | 2200003810 | 24-06-2026 | 450 | Maheshwaram substation | Telangana | Under Process | Under Process
HYPERVAULT AI DATA CENTER LIMITED | TCS | 2200004386 | 25-09-2026 | 1100 | Maheshwaram Sub station | Telangana | Under Process | Under Process
Indian Railways | Railways | 2200001656 | 06-02-2025 | 50 | NAINI | Uttar Pradesh | Approved | Approved
Source: CTUIL, 'Status of Application under GNA Regulation' - tab 'Application under Regulation 20.1, 20.3 and 20.4 ...', rows where Nature of Applicant = Bulk consumer; downloaded 19-Oct-2026 from https://ctuil.in/nswsapi/gna
Rules: 20 CLOSED applications (5,329 MW) excluded; 2 applications with blank status (2,550 MW) treated as Under Process; State derived from the interconnection substation named in the filing (Kala = PGCIL Kala, Dadra & Nagar Haveli).
Group mapping per user's research (Adani Group, SITAC Group, Rays Power, Hygenco, NTPC*, etc.); edit column B to change it - the other sheets update.

## State_x_Company_UnderProc
State x company group - Under Process only (GW)
State | Reliance | ACME Cleantech | Adani Group | NTPC* | TCS | ArcelorMittal | SITAC Group | L&T | Rays Power | Hygenco | Hindustan Zinc | Jindal Steel | Jakson Group | Railways | Hira Group | Qubitiq | Bharat Aluminium | Hindalco | Ultratech | Total
Gujarat | 14.55 | 0 | 2.13 | 0 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.18
Odisha | 0 | 10.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.425 | 0 | 0 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 11.275
Andhra Pradesh | 0 | 0 | 2.323 | 3.5 | 0 | 0 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.15 | 0 | 0 | 0.05 | 6.273
Telangana | 0 | 0 | 2.402 | 0 | 1.55 | 0 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.052
Maharashtra | 0.05 | 0 | 0.5 | 0 | 0 | 0 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65
Rajasthan | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0 | 0 | 0 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15
Chhattisgarh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Madhya Pradesh | 0 | 0 | 0 | 0.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0 | 0.21
Tamil Nadu | 0 | 0 | 0 | 0 | 0 | 0 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0.135 | 0 | 0 | 0 | 0 | 0 | 0.205
Karnataka | 0 | 0 | 0 | 0 | 0 | 0 | 0.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12
Dadra & Nagar Haveli (UT) | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05
Haryana | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05
Uttar Pradesh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 14.65 | 10.1 | 7.355 | 3.61 | 1.55 | 0 | 0.64 | 0.5 | 0.5 | 0.425 | 0.05 | 0 | 0.25 | 0.135 | 0.15 | 0.15 | 0 | 0.1 | 0.05 | 40.215

## State_x_Company_Approved
State x company group - Approved only (GW)
State | Reliance | ACME Cleantech | Adani Group | NTPC* | TCS | ArcelorMittal | SITAC Group | L&T | Rays Power | Hygenco | Hindustan Zinc | Jindal Steel | Jakson Group | Railways | Hira Group | Qubitiq | Bharat Aluminium | Hindalco | Ultratech | Total
Gujarat | 0 | 0 | 1.14 | 0 | 0 | 0.487 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.627
Odisha | 0 | 0 | 0 | 0 | 0 | 0.432 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.432
Andhra Pradesh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Telangana | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maharashtra | 0 | 0 | 1.468 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0 | 0 | 0 | 0 | 0 | 1.518
Rajasthan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22
Chhattisgarh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26 | 0 | 0 | 0 | 0 | 0.1 | 0 | 0 | 0.36
Madhya Pradesh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tamil Nadu | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Karnataka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dadra & Nagar Haveli (UT) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Haryana | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Uttar Pradesh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0.05
Total | 0 | 0 | 2.608 | 0 | 0 | 0.919 | 0 | 0 | 0 | 0 | 0.22 | 0.26 | 0 | 0.1 | 0 | 0 | 0.1 | 0 | 0 | 4.207