## MH_Master_Summary
Maharashtra data centres - verifiable pipeline (combined list)
Built from MH_Master_List. Verifiable = MW in an official record (SLDC / CTUIL / MERC / SEIAA / state GO-LoI-MoU). Facility (grid) MW, not IT MW.
By stage | Projects | Verifiable MW | Indicative MW | Share of verifiable | What it is
1 Grid sanctioned - partly live | 19 | 2648 | 2648 | 18.07% | STU sanction with load already realised (SLDC)
2 Grid sanctioned / approved - not yet live | 19 | 5345 | 5345 | 36.47% | STU sanction / CTUIL approval / MERC grant, not yet drawing
3 Grid applied / under consideration | 3 | 2100 | 2100 | 14.33% | CTUIL GNA under process; MERC 'under consideration'
4 Permit only (no grid record) | 6 | 113.9 | 113.9 | 0.7771% | EC / MPCB record but no grid record (often MW not disclosed)
5 MoU / LoI / EOI | 4 | 4450 | 4450 | 30.36% | State MoU / LoI / EOI (government action, early stage)
6 Company claim / announced only | 6 | 0 | 735.5 | 0% | Only company or press figure - not counted as verifiable
Total | 57 | 14656.9 | 15392.4 | 100%
Key measures | MW |  |  |  | Note
Grid-sanctioned / approved (stages 1-2) - firmest verifiable | 7993 |  |  |  | SLDC sanctions + CTUIL approved (Support Properties) + MERC Ambernath increase
Plus: grid applications pending (stage 3) | 2100 |  |  |  | CTUIL under process + MERC 1,500 MW under consideration
Grid pipeline, stages 1-3 (sum of the two rows above) | 10093 |  |  |  | Official grid-level DC pipeline in Maharashtra
Plus: State MoU / LoI / EOI (stage 5) | 4450 |  |  |  | AirTrunk Pen 3 GW, ReNew 750, Trentar 500, MAHAPREIT 200
Realised so far (SLDC, Dec-2025) | 685 |  |  |  | Final connectivity granted / load realised
Actually drawn - avg last 3 months (SLDC, 18 DCs) | 204.52 |  |  |  | Metered average load
Unverified extra (company / press only) | 735.5 |  |  |  | PDG, L&T Vyoma, Zerra, ESR, TCC, Avisirah
By group | Projects | Verifiable MW | Indicative MW | SLDC realised | Main sites
Bharti Airtel (Nxtra) | 3 | 221 | 221 | 121 | Navi Mumbai - TTC, Pune
Blackstone / AirTrunk | 5 | 3900 | 3900 | 35 | Navi Mumbai - TTC, Panvel / Raigad
Bridge Data Centres | 1 | 32 | 32 | 32 | Navi Mumbai - TTC
CapitaLand | 1 | 120 | 120 | 18 | Navi Mumbai - TTC
Colt DCS - RMZ | 1 | 60 | 60 | 10 | Navi Mumbai - TTC
CtrlS | 2 | 585 | 585 | 70 | Navi Mumbai - TTC
Digital Edge | 2 | 225 | 225 | 25 | Navi Mumbai - TTC
K Raheja Corp / Mindspace | 2 | 535 | 535 | 71 | Navi Mumbai - TTC
NTT | 5 | 665 | 665 | 90 | Mumbai city, Navi Mumbai - TTC
STT GDC | 4 | 770 | 770 | 97 | Ambernath (Lodha Palava park), Navi Mumbai - TTC, Pune
Sify | 2 | 160 | 160 | 100 | Navi Mumbai - TTC
Adani Group | 4 | 2197 | 2197 | 16 | Navi Mumbai - TTC, Panvel / Raigad, Pune
AWS (Amazon) | 3 | 850 | 850 | 0 | Ambernath (Lodha Palava park), Mumbai city, Thane
Lodha park (AWS, STT + 1 more) | 2 | 2025 | 2025 | 0 | Ambernath (Lodha Palava park)
Google | 2 | 320 | 320 | 0 | Navi Mumbai - TTC
Iron Mountain (Web Werks) | 1 | 120 | 120 | 0 | Navi Mumbai - TTC
Unidentified ('IMCC') | 1 | 106 | 106 | 0 | Navi Mumbai - TTC
Unidentified ('Innovative') | 1 | 50 | 50 | 0 | Navi Mumbai - TTC
Yotta (Hiranandani) | 2 | 52 | 52 | 0 | Panvel / Raigad
SITAC Group | 1 | 100 | 100 | 0 | Pune
Unidentified (Chandivali) | 1 | 113.9 | 113.9 | 0 | Mumbai city
Unidentified (Gargantuan Industrial Space) | 1 | 0 | 0 | 0 | Navi Mumbai - TTC
L&T | 2 | 0 | 100 | 0 | Navi Mumbai - TTC, Panvel / Raigad
MAHAPREIT (state) | 1 | 200 | 200 | 0 | Not disclosed
Trentar (Dorf Ketal) | 1 | 500 | 500 | 0 | Not disclosed
ReNew | 1 | 750 | 750 | 0 | Panvel / Raigad
Avisirah | 1 | 0 | 5.5 | 0 | Navi Mumbai - TTC
ESR | 1 | 0 | 60 | 0 | Navi Mumbai - TTC
Princeton Digital Group | 1 | 0 | 270 | 0 | Navi Mumbai - TTC
Zerra | 1 | 0 | 240 | 0 | Navi Mumbai - TTC
TCC Concept / NES Data | 1 | 0 | 60 | 0 | Pune
By cluster | Projects | Verifiable MW | Indicative MW | SLDC realised
Ambernath (Lodha Palava park) | 4 | 2950 | 2950 | 0
Mumbai city | 3 | 338.9 | 338.9 | 0
Navi Mumbai - TTC | 34 | 5501 | 6176.5 | 526
Not disclosed | 2 | 700 | 700 | 0
Panvel / Raigad | 6 | 4302 | 4302 | 0
Pune | 7 | 715 | 775 | 159
Thane | 1 | 150 | 150 | 0
Notes
Excluded from the list: CTUIL Maharashtra bulk filings that are not data centres (Central Railway Talegaon 50 MW; Reliance Nagothane 50 MW) and utility projections (AEML 354 MW DC demand increase).
De-duplication: each SLDC line is one row; our company figures are attached to the matching SLDC row (e.g. CtrlS 214 IT MW sits on SLDC #3). Lodha Ambernath = SLDC AWS 475 + STT 450 rows + a MERC 'increase' row (525) + MERC 'under consideration' row (1,500).
Possible overlap kept separate and flagged: Adani Infra CTUIL 500 MW (Padghe-Kharghar) vs AdaniConneX Taloja / CoreWeave 240 MW - shown on one row; Bearys ES-05 permit may be part of an NTT line.
Our main workbook (State_DC_Power_by_Company.xlsx) is unchanged; this list uses the official SLDC numbers (e.g. AWS Thane 150 MW, not the tier-D 272).

## MH_Master_List
Maharashtra data centres - combined master list (SLDC grid + CTUIL + MERC + permits + our dataset), one row per project
Verifiable MW = figure found in an official record, in priority order: SLDC/STU sanctioned load (Dec-2025) > CTUIL GNA (approved + under process) > other official (MERC order, EC/SEIAA connected load, state GO/LoI/MoU/EOI). Company / press figures are shown separately and NOT counted as verifiable. Grid MW (SLDC, CTUIL, MERC) and connected-load MW are facility power, not IT MW (IT is roughly 55-65% of facility load per SLDC).
ID | Primary record | Group | Company / SPV (as filed) | Site / location | Cluster | Grid connection | SLDC sanctioned (MW) | SLDC realised (MW) | SLDC avg load 3 m (MW) | CTUIL approved (MW) | CTUIL under process (MW) | Other official (MW) | Other official basis | Other official tier | Company / press (MW) | Company / press basis & tier | Permits (EC / MPCB) | VERIFIABLE MW | Verifiable source | Indicative MW (incl. unverified) | Stage | Primary source | Other source | Notes | Group key
MH01 | SLDC | Bharti Airtel (Nxtra) | M/s. Nxtra | TTC, Mahape | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Tiffil line | 35 | 35 | 2.28 | [7 empty] | SEIAA EC (expansion) - Granted (M022); MPCB CTE expansion (Feb-25); CTO part (Jun-25) - Approved (M023) | 35 | SLDC | 35 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=23 | https://assets.airtel.in/nxtra/pdf/EC_Environmental_Clearance_Certificate_Nxtra%20Mahape_DC-02_25.11.25.pdf | SLDC MMR #8. Not in our MH state data (Airtel Nxtra) | Bharti Airtel (Nxtra)
MH02 | SLDC | Blackstone / AirTrunk (Gramercy SPVs) - inferred | M/s Estela Hindustan Unilever (Gramercy Techpark) | TTC MIDC, Airoli | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Taloja-Panchanand | 90 | 35 | 5 | [5 empty] | 62 | IT MW - tier D | MPCB Consent to Establish - Approved (M024); MPCB / SEIAA CTO (part); EC expansion - Approved / on agenda (M025) | 90 | SLDC | 90 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 | https://mpcb.gov.in/sites/default/files/inline-files/Minutes%20of%2015th%20CAC%20Establish%20Booklet%20no%2065.pdf | SLDC MMR #13. Official grid figure (90 MW) replaces directory-sourced 62 MW | Blackstone / AirTrunk
MH03 | SLDC | Bridge Data Centres | M/s. Bridge Data Centre | Dighi MIDC, Navi Mumbai | Navi Mumbai - TTC | LILO on 100 kV Kalwa-Mukund ckt-1 | 32 | 32 | 10.93 | [7 empty] | MPCB CTO renewal - Approved (M040) | 32 | SLDC | 32 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=26 | https://mpcb.gov.in/sites/default/files/inline-files/Index_Of_15th_CAC_Meeting.pdf | SLDC MMR #29. Not in our data; operating (avg ~11 MW) | Bridge Data Centres
MH04 | SLDC | CapitaLand | M/s. Datascape | TTC, Dighe | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Bapgaon | 120 | 18 | 9 |  |  | 135 | EC / Form-1A connected load | A1 | 135 | Connected MW - tier A1 | SEIAA EC (expansion) - Discussed (M005); MPCB Consent to Establish - Listed (M006); MPCB Consent to 1st Operate (part) - Approved (M007) | 120 | SLDC | 120 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 | https://environmentclearance.nic.in/writereaddata/FormB/agenda/1509202585756580%28740114%29MINUTESOF301DAY-4TABLEITEM-Copy.pdf | SLDC MMR #17. | CapitaLand
MH05 | SLDC | Colt DCS - RMZ | M/s. Data Centre Holding | Kalwa Industrial Area, Dighe, Airoli | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Colourchem | 60 | 10 | 1.2 | [5 empty] | 148 | IT MW - tier C | MPCB CTO / renewal - Approved (M039) | 60 | SLDC | 60 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 | https://indianinfrastructure.com/2026/10/16/colt-dcs-and-rmz-begin-construction-of-third-data-centre-in-mumbai/ | SLDC MMR #16. SLDC sanction only 60 MW so far vs 148 MW campus potential | Colt DCS - RMZ
MH06 | SLDC | CtrlS | M/s CTRLS | TTC MIDC, Mahape | Navi Mumbai - TTC | LILO on ckt-I of 220 kV Kharghar-Borivali D/C | 295 | 70 | 43 | [5 empty] | 214 | IT MW - tier A1 | MPCB CTE for expansion - Approved (M038) | 295 | SLDC | 295 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=22 | https://www.ctrls.com/ | SLDC MMR #3. SLDC: 295 MW sanctioned + 290 MW 'CtrlS New' (#24) = 585 MW grid vs our 214 IT MW. Site visit: 70 MW live, avg 42-45 MW | CtrlS
MH07 | SLDC | Digital Edge | M/s. Digital Edge (AGP) | Mukund Ltd, Kalwa & Digha | Navi Mumbai - TTC | LILO on 100 kV Kalwa-BDC-Mukund I & II | 35 | 25 | 0.97 | [7 empty] | MPCB Consent to 1st Operate - Approved (M020) | 35 | SLDC | 35 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=26 | https://mpcb.gov.in/sites/default/files/inline-files/Action_Taken_Report_of_17th_CAC_Booklet_no_17_2024-25.pdf | SLDC MMR #27. SLDC: Digital Edge #27 + #28 = 225 MW grid vs 350 MW campus | Digital Edge
MH08 | SLDC | K Raheja Corp / Mindspace | M/s Newfound | TTC Industrial Area, Thane, Navi Mumbai | Navi Mumbai - TTC | LILO on 220 kV Kharghar-Sonkhar line | 250 | 36 | 0.42 | [7 empty] | SEIAA / MPCB CTO Part-I for Bldg 5A (Data Centre) - Approved (M033) | 250 | SLDC | 250 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=22 | https://mpcb.gov.in/sites/default/files/inline-files/Action_Taken_Report_of_17th_CAC_Booklet_no_17_2024-25.pdf | SLDC MMR #4. Not in state data; 250 MW sanctioned to 2034 | K Raheja Corp / Mindspace
MH09 | SLDC | K Raheja Corp / Mindspace | M/s Gigaplex | Airoli Knowledge Park, Airoli | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Bapgaon | 285 | 35 | 7 | [7 empty] | SEIAA / MPCB CTO application; EC amendment - Listed (M034) | 285 | SLDC | 285 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=22 | https://mpcb.gov.in/sites/default/files/inline-files/Index_of_4th_CAC_Meeting_of_2025-26.pdf | SLDC MMR #5. Not in state data; 285 MW sanctioned to 2031 | K Raheja Corp / Mindspace
MH10 | SLDC | NTT | M/s Netmagic | TTC, Mahape | Navi Mumbai - TTC | LILO on ckt-1 of 220 kV Kharghar-Borivali D/C | 90 | 25 | 23.19 | [8 empty] | 90 | SLDC | 90 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=23 |  | SLDC MMR #6. SLDC: NTT sites #6 + #9 + #18 = 665 MW grid | NTT
MH11 | SLDC | NTT | M/s. Estela Mukund (NTT Global) | Bhola Nagar, Kalwa | Navi Mumbai - TTC | Interim LILO on 220 kV Kalwa-Bapgaon; final LILO on 400 kV Kalwa-Padghe | 500 | 50 | 14 | [5 empty] | 366 | IT MW - tier C | MPCB CTO; renewal (part) - Approved (M036) | 500 | SLDC | 500 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=23 | https://www.datacenterdynamics.com/en/news/ntt-announces-500mw-nav2-data-center-in-navi-mumbai-india/ | SLDC MMR #9. NAV2 = 500 MW facility; our IT figure is consistent | NTT
MH12 | SLDC | NTT | M/s. NTT Global DC-13 | TTC, Bhola Nagar, Kalwa | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Bapgaon at 220 kV GIS of NTT NAV2 (DC-13) | 75 | 15 | 5 | [8 empty] | 75 | SLDC | 75 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 |  | SLDC MMR #18. | NTT
MH13 | SLDC | STT GDC | M/s. STT Global | TTC MIDC, Khairane | Navi Mumbai - TTC | LILO on 220 kV Mahape-Tiffil | 80 | 40 | 5 | [5 empty] | 133 | IT MW - tier A1 | MPCB CTE; CTO (part); amendment - Approved (M035) | 80 | SLDC | 80 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 | https://www.sttelemediagdc.com/in-en/locations/mumbai | SLDC MMR #14. | STT GDC
MH14 | SLDC | Sify | M/s Print House (Sify Infinit Spaces) | TTC, Rabale | Navi Mumbai - TTC | LILO on 220 kV Apta-Kalwa | 90 | 30 | 14 | [5 empty] | 377 | IT MW - tier A1 | SEIAA / MPCB EC expansion; CTE expansion - Approved / on agenda (M028) | 90 | SLDC | 90 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=23 | https://www.sifytechnologies.com/data-center/rabale-data-center/ | SLDC MMR #12. SLDC: Sify #12 + #30 = 160 MW grid vs 377 MW company campus figure | Sify
MH15 | SLDC | Sify | M/s. Sify Technologies Ltd | TTC, Rabale | Navi Mumbai - TTC | LILO of 100 kV Reliable-Standard Alkali | 70 | 70 | [9 empty] | 70 | SLDC | 70 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=26 |  | SLDC MMR #30. | Sify
MH16 | SLDC | Adani Group (ex-Microsoft site) - inferred | M/s Microsoft Corporation India Ltd (Pimpri-Chinchwad) | Pimpri Chinchwad, Pune | Pune | 220 kV D/C UG cable from 220 kV Bhosari-I S/s (4 km) | 155 | 16 | 0 | [7 empty] | MPCB Consent to Establish - Approved (M017); SEIAA EC - On agenda (M018) | 155 | SLDC | 155 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=26 | https://mpcb.gov.in/sites/default/files/inline-files/Minutes%20of%2015th%20CAC%20Establish%20Booklet%20no%2065.pdf | SLDC PMR #2. First MW figure for this site: 155 MW (cumulative schedule to Jan-2030) | Adani Group
MH17 | SLDC | Bharti Airtel (Nxtra) | M/s NXTRA Data Ltd-1 | MIDC Plot 13/104, Hinjewadi Ph-3, Pune | Pune | 2 x 220 kV lines from 400 kV Hinjewadi Ph-III | 36 | 36 | 16.88 | [8 empty] | 36 | SLDC | 36 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=27 |  | SLDC PMR #4. Not in our data | Bharti Airtel (Nxtra)
MH18 | SLDC | Bharti Airtel (Nxtra) | M/s NXTRA Data Ltd-2 | Hinjewadi Ph-3, Mann, Pune | Pune | 220 kV UG D/C from 400/220 kV Hinjewadi Ph-III | 150 | 50 | 5.02 | [7 empty] | MPCB CTE expansion; CTO (part) - Approved (after SCN) (M043) | 150 | SLDC | 150 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=27 | https://mpcb.gov.in/sites/default/files/inline-files/Action_Taken_Report_of_16th_CAC_Booklet_no._16_%281%29.pdf | SLDC PMR #5. Not in our data | Bharti Airtel (Nxtra)
MH19 | SLDC | STT GDC | M/s. STT Global Data Centres India Pvt Ltd | Alandi Road, VSNL Old Colony, Dighi, Pune | Pune | 220 kV VSNL-STT Global ckt-I & II | 200 | 57 | 41.63 | [8 empty] | 200 | SLDC | 200 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=27 |  | SLDC PMR #3. Not in our MH data: 100 MW existing + 100 MW additional; avg load ~42 MW | STT GDC
MH20 | SLDC | AWS (Amazon) | M/s. Amazon, Ambernath | Narhen, Usatane, Burdul & Asode, Ambernath | Ambernath (Lodha Palava park) | 220 kV D/C from 220 kV Lodha switching station (proposed MSETCL) | 475 | [10 empty] | 475 | SLDC | 475 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=25 |  | SLDC MMR #22. Dec-2025: AWS 475 + STT 450 = 925 MW; MERC order (Jun-2026) later raised the park to ~1,450 MW granted. Phase schedule in report sums to 450 | AWS (Amazon)
MH21 | MERC | Lodha park (AWS, STT + 1 more) | Maharashtra STU - Ambernath 400/220 kV (Lodha-funded) | Ambernath (Palava) - increase in STU grant Dec-25 -> Jun-26 | Ambernath (Lodha Palava park) | 400/220 kV Ambernath S/s (TBCB annulled; STU to build) | [5 empty] | 525 | Derived: MERC 1,450 MW granted (Jun-2026) less SLDC 925 MW (AWS 475 + STT 450, Dec-2025) | A1 |  |  |  | 525 | Other official | 525 | 2 Grid sanctioned / approved - not yet live | https://merc.gov.in/wp-content/uploads/2026/06/Order-88-of-2026.pdf |  | MERC Case 88/2026 para 7.15. AWS Ambernath EC filing (473 MW) sits inside this park - not added separately | Lodha park (AWS, STT + 1 more)
MH22 | SLDC | STT GDC | M/s. STT Global, Ambernath | Narhen, Usatane, Burdul & Asode, Ambernath | Ambernath (Lodha Palava park) | 220 kV D/C from 220 kV Lodha switching station (proposed MSETCL) | 450 | [10 empty] | 450 | SLDC | 450 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=25 |  | SLDC MMR #23. | STT GDC
MH23 | SLDC | AWS (Amazon) | Amazon Data Services Pvt Ltd, Mumbai | Tungwa, Powai (Kurla) | Mumbai city | LILO on 220 kV Salsette-Sahar & Salsette-Saki | 225 |  |  |  |  | 77 | EC / Form-1A connected load | A1 | 77 | Connected MW - tier A1 | SEIAA EC - Discussed (M010); MPCB Consent to Establish - Approved (M011) | 225 | SLDC | 225 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 | https://environmentclearance.nic.in/writereaddata/FormB/agenda/1509202585756580%28740114%29MINUTESOF301DAY-4TABLEITEM-Copy.pdf | SLDC MMR #19. Grid sanction 225 MW vs 77 MW in the EC - EC covers only the first building(s) | AWS (Amazon)
MH24 | CTUIL | Adani Group (AdaniConneX) | Support Properties Pvt Ltd ('ACXNMI-01') | A-GEN-4 TTC Rabale / Ghansoli; 400 kV POWERGRID Navi Mumbai (GIS) | Navi Mumbai - TTC | ISTS - 400 kV PG Navi Mumbai (GIS) |  |  |  | 1468 | [6 empty] | SEIAA / MPCB EC expansion; CTE (Feb-24) - On agenda / approved (M027) | 1468 | CTUIL | 1468 | 2 Grid sanctioned / approved - not yet live | https://ctuil.in/nswsapi/gna | https://www.ecmpcb.in/login/download_ec_document/MjMyMTI2NEMzMjYzNDM5M0IxRTJDRDY5MENBNDZFODcucGRm | 17 GNA applications (13 x 50 + 418 + 74 + 174 + 152) approved; AdaniConneX subsidiary since 2023. Not in SLDC (ISTS, not STU) | Adani Group
MH25 | SLDC | Blackstone / AirTrunk (Gramercy SPVs) - inferred | M/s Estela Coromandal (Gramercy Infopark Pvt Ltd) | TTC, Mavli, Ghansoli | Navi Mumbai - TTC | Interim LILO on 220 kV Kharghar-Borivali; final LILO on 400 kV Kalwa-Kharghar | 480 | [10 empty] | 480 | SLDC | 480 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=23 |  | SLDC MMR #11. Largest new item: 480 MW (Mar-2028 to Nov-2031); needs a 400 kV LILO | Blackstone / AirTrunk
MH26 | SLDC | Blackstone / AirTrunk (Gramercy SPVs) - inferred | M/s. Gramercy Business Hub Pvt Ltd | TTC, Mahape | Navi Mumbai - TTC | 220 kV Gramercy switching station; LILO on 220 kV Kharghar-Netmagic | 150 | [7 empty] | 120 | IT MW - tier C | MPCB Consent to Establish - Approved (M026) | 150 | SLDC | 150 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=25 | https://airtrunk.com/location/bom2-mumbai/ | SLDC MMR #25. Likely AirTrunk BOM2 (Mahape) | Blackstone / AirTrunk
MH27 | SLDC | Blackstone / AirTrunk (Gramercy SPVs) - inferred | M/s. Gramercy Infra Realty Pvt Ltd | Plot IT-1, IT-2, Knowledge Park, Navi Mumbai | Navi Mumbai - TTC | TFR awaited from field office | 180 | [10 empty] | 180 | SLDC | 180 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=25 |  | SLDC MMR #26. Not in our data; connectivity still at feasibility (TFR awaited) | Blackstone / AirTrunk
MH28 | SLDC | CtrlS | M/s. CTRLS New | TTC MIDC, Mahape | Navi Mumbai - TTC | 220 kV Mahape-CtrlS GIS D/C UG cable (1 km) | 290 | [10 empty] | 290 | SLDC | 290 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=25 |  | SLDC MMR #24. Second CtrlS GIS substation, +290 MW | CtrlS
MH29 | SLDC | Digital Edge | M/s. Digital Edge | Dighe, Thane Belapur Road | Navi Mumbai - TTC | LILO of 220 kV DCHI-Colourchem | 190 | [7 empty] | 350 | IT MW - tier C | MPCB Consent to Establish - Approved (M019); SEIAA EC - Granted (M021) | 190 | SLDC | 190 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=26 | https://www.digitaledgedc.com/products-services/data-centers/india/ | SLDC MMR #28. | Digital Edge
MH30 | SLDC | Google | M/s Amantin (Greenscape) | TTC, Turbhe | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Tiffil at proposed 220 kV S/s | 130 |  |  |  |  | 103.367 | EC / Form-1A connected load | A1 | 103.4 | Connected MW - tier A1 | SEAC-II EC application - n/a (M001) | 130 | SLDC | 130 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=23 | https://environmentclearance.nic.in/DownloadPfdFile.aspx?FileName=Kwy+a1Xl%2FGHp2kMbJYBd8GPrFSz%2FNzzr1mrm87hA6RfsBvasy5U%2FhwjR4PRxBwwupD8Lw8MExL5FqtSFZLEOTQ%3D%3D&FilePath=93ZZBm8LWEXfg+HAlQix2fE2t8z%2FpgnoBhDlYdZCxzXTbTpOQqzWjBW0IF63rxBVcDlG0LKdfbGNs0Ou%2FTEvAA%3D%3D | SLDC MMR #10. SLDC 130 MW grid vs 103.4 MW connected load in EC filing | Google
MH31 | SLDC | Google | M/s. Raiden InfoTech India (P) Ltd | Turbhe MIDC, TTC | Navi Mumbai - TTC | LILO on 220 kV Kharghar-Sonkhar | 190 | [8 empty] | n/a - tier A1 | MPCB Consent to Establish - Approved (M002); SEIAA EC application - On agenda (M003) | 190 | SLDC | 190 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=25 | https://mpcb.gov.in/sites/default/files/inline-files/Action_Taken_report_of_5th_CAC_Booklet_no_5_0.pdf | SLDC MMR #21. First MW figure for Google's own Navi Mumbai site: 190 MW, May-2026 to May-2031 | Google
MH32 | SLDC | Iron Mountain (Web Werks) | M/s. Web Werks | TTC, Rabale | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Siemens at proposed 220 kV GIS | 120 |  |  |  |  | 140 | EC / Form-1A connected load | A1 | 140 | Connected MW - tier A1 | SEIAA EC (new DC buildings) - Discussed (M008); MPCB Consent to Establish - Approved (M009) | 120 | SLDC | 120 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 | https://environmentclearance.nic.in/writereaddata/FormB/agenda/1509202585756580%28740114%29MINUTESOF301DAY-4TABLEITEM-Copy.pdf | SLDC MMR #15. | Iron Mountain (Web Werks)
MH33 | SLDC | STT GDC | M/s. ST Telemedia | Thane Belapur Road | Navi Mumbai - TTC | LILO on 220 kV Mahape-Tiffil line | 40 | [10 empty] | 40 | SLDC | 40 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=22 |  | SLDC MMR #1. SLDC grid sanction for the two STT Navi Mumbai sites = 120 MW | STT GDC
MH34 | SLDC | Unidentified ('IMCC') | M/s IMCC | TTC MIDC Zone-A, Ghansoli | Navi Mumbai - TTC | LILO on ckt-I of 220 kV Kharghar-Borivali D/C | 106 | [10 empty] | 106 | SLDC | 106 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=23 |  | SLDC MMR #7. Not in our data; sponsor to be identified | Unidentified ('IMCC')
MH35 | SLDC | Unidentified ('Innovative') | M/s. Innovative | Khairane MIDC, Navi Mumbai | Navi Mumbai - TTC | LILO on 220 kV Mahape-Tiffil ckt of Kalwa-Siemens-Mahape-Tiffil line | 50 | [10 empty] | 50 | SLDC | 50 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=22 |  | SLDC MMR #2. Not in our data; sponsor to be identified | Unidentified ('Innovative')
MH36 | SLDC | Yotta (Hiranandani) | Yotta Data Services | Hiranandani Fortune City, Panvel | Panvel / Raigad | - | 52 | [7 empty] | 52 | IT MW - tier C | MPCB Renewal of consent - Approved (M041) | 52 | SLDC | 52 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=26 | https://colocation.yotta.com/data-center/nm1-datacenter-mumbai-region-maharashtra/ | SLDC MMR #31. Exact match | Yotta (Hiranandani)
MH37 | SLDC | Adani Group (ex-Microsoft site) | M/s Microsoft Corporation India Ltd (Bhosari) | Bhosari, Pimpri Industrial Area, Pune | Pune | 220 kV D/C UG cable from 220 kV Century Enka S/s (2 km) | 74 |  |  |  |  | 75.4 | EC / Form-1A connected load | A1 | 75.4 | Connected MW - tier A1 | SEIAA EC (expansion) - Referred back to SEAC-III (M015); MPCB Consent to Establish - Approved (M016) | 74 | SLDC | 74 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=26 | https://environmentclearance.nic.in/writereaddata/FormB/agenda/2302202697285484%28921161%29MINUTESOF319DAY-5PART-B.pdf | SLDC PMR #1. 74 MW grid = 75.4 MW EC. Schedule in report is cumulative (16.1 -> 74); converted to annual increments | Adani Group
MH38 | SLDC | AWS (Amazon) | Amazon Data Services Pvt Ltd, Thane | Balkum & Majiwade, Thane | Thane | LILO on 220 kV Colorchem-Temghar | 150 | [7 empty] | 272 | IT MW - tier D | MPCB Consent to Establish - Approved (M012); SEIAA EC application - On agenda (M013) | 150 | SLDC | 150 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 | https://x.com/cbdhage/status/1762797367529480646 | SLDC MMR #20. Official: 150 MW sanctioned in 4 x 37.5 MW phases 2025-28. Replace 272 (tier D) with 150 (A1) | AWS (Amazon)
MH39 | MERC | Lodha park (AWS, STT + 1 more) | Maharashtra STU - Ambernath (connectivity under consideration) | Ambernath (Palava) | Ambernath (Lodha Palava park) | 400/220 kV Ambernath S/s | [5 empty] | 1500 | MERC: ~1,500 MW additional load under consideration by STU | A1 |  |  |  | 1500 | Other official | 1500 | 3 Grid applied / under consideration | https://merc.gov.in/wp-content/uploads/2026/06/Order-88-of-2026.pdf |  | One more DC's application under process (MERC para 7.6); park total 2,950 MW | Lodha park (AWS, STT + 1 more)
MH40 | CTUIL | Adani Group (Adani Infra / AdaniConneX) | Adani Infra (India) Ltd - likely AdaniConneX Taloja (CoreWeave) | LILO of 400 kV Padghe-Kharghar (Taloja / Kharghar belt) | Panvel / Raigad | ISTS - LILO of 400 kV Padghe-Kharghar |  |  |  |  | 500 |  |  |  | 240 | IT MW - tier C (CoreWeave release; 480 MW option) |  | 500 | CTUIL | 500 | 3 Grid applied / under consideration | https://ctuil.in/nswsapi/gna | https://investors.coreweave.com/news/news-details/2026/CoreWeave-Enters-India-Expanding-AI-Cloud-Platform-With-AdaniConneX/default.aspx | 10 x 50 MW GNA under process (May-Jun 2026). Link to Taloja/CoreWeave campus is inferred (location + timing) | Adani Group
MH41 | CTUIL | SITAC Group | Vardhexa Data Centre Pvt Ltd | Pune (Talegaon) 400 kV | Pune | ISTS - Pune (Talegaon) |  |  |  |  | 100 | [6 empty] | 100 | CTUIL | 100 | 3 Grid applied / under consideration | https://ctuil.in/nswsapi/gna |  | 1 GNA application (16-09-2026). Not in our earlier state data. SITAC group mapping per your research | SITAC Group
MH42 | Permits | NTT | NTT Global Data Centers & Cloud Infrastructure India | Saki Vihar / Marol, Mumbai | Mumbai city | [11 empty] | MPCB CTO renewal - Listed (M044) | 0 | No MW | 0 | 4 Permit only (no grid record) | https://mpcb.gov.in/sites/default/files/inline-files/Agenda%20Index%20of%2013th%20CAC%20Meeting.pdf |  | Existing NTT (ex-Netmagic) Saki Vihar DC - CTO renewal; served by Mumbai licensee | NTT
MH43 | Our data | Unidentified (Chandivali) | Tusshar Infra Developers & Pantheon Buildcon | Saki Vihar-Chandivali, Mumbai | Mumbai city | [6 empty] | 113.9 | Connected MW - EC (expansion) under appraisal 2025 | A1 |  |  | SEIAA EC (expansion) - 'Commercial IT (Data Centre)' - Discussed (M014) | 113.9 | Other official | 113.9 | 4 Permit only (no grid record) | https://environmentclearance.nic.in/writereaddata/FormB/agenda/2107202594781152MINUTESOF296DAY-3PART-B.pdf | https://environmentclearance.nic.in/writereaddata/FormB/agenda/2107202594781152MINUTESOF296DAY-3PART-B.pdf | EC (expansion) under appraisal - 113.9 MW connected load in SEIAA minutes (A1); likely Tata Power / AEML supply, so not in SLDC | Unidentified (Chandivali)
MH44 | Permits | NTT (likely - Bearys builds NTT campuses) | Bearys Properties & Developments Pvt Ltd | Plot ES-05, TTC Mahape | Navi Mumbai - TTC | [11 empty] | SEIAA EC - On agenda (M030) | 0 | No MW | 0 | 4 Permit only (no grid record) | https://www.ecmpcb.in/login/download_ec_document/QjJCMzlBQzg5M0MzNDZERjg1NDQxQTZGN0YzQzE0MjMucGRm |  | EC on agenda for Plot ES-05 Mahape; may be part of an NTT SLDC line | NTT
MH45 | Permits | Unidentified (Gargantuan Industrial Space) | Gargantuan Industrial Space Solutions Pvt Ltd | Plot R-978, Sector 8, Rabale | Navi Mumbai - TTC | [11 empty] | SEIAA EC expansion - On agenda (M029) | 0 | No MW | 0 | 4 Permit only (no grid record) | https://www.ecmpcb.in/login/download_ec_document/ODY2MDg5MDRCMzNGNDNCN0JEMTFBNDUzNEI4MjlGNEQucGRm |  | EC expansion on agenda; no MW, no grid record | Unidentified (Gargantuan Industrial Space)
MH46 | Permits | L&T | Larsen & Toubro Ltd | S.No. 39, 42, 49 Bhokarpada, Panvel | Panvel / Raigad | [11 empty] | SEIAA EC (DC + residential) - On agenda (M032) | 0 | No MW | 0 | 4 Permit only (no grid record) | https://www.ecmpcb.in/login/download_ec_document/MzMzQzM2MDM3QkQ5NEYxQUIyOTNEMjAyNEE2NUNFODgucGRm |  | EC for DC + residential at Bhokarpada, Panvel; no MW | L&T
MH47 | Permits | Yotta (Hiranandani) | Persipina Developers Pvt Ltd | Bhokarpada, Panvel | Panvel / Raigad | [11 empty] | MPCB CTO for DG sets - Approved (M042) | 0 | No MW | 0 | 4 Permit only (no grid record) | https://mpcb.gov.in/sites/default/files/inline-files/Webhost%20Minutes%20of%203rd%20CAC%20Booklet%20no.%203.pdf |  | CTO for DG sets in the Yotta park - likely part of Yotta NM1/NM2 | Yotta (Hiranandani)
MH48 | Our data | MAHAPREIT (state) | MAHAPREIT | State DC project | Not disclosed | [6 empty] | 200 | Total load MW - EOI stage | A1 |  |  |  | 200 | Other official | 200 | 5 MoU / LoI / EOI | https://mahapreit.in/assets/uploads/tender-ext-65-1786725791.pdf |  | State EOI (A1) - 200 MW total load | MAHAPREIT (state)
MH49 | Our data | Trentar (Dorf Ketal) | Trentar Pvt Ltd | Location not disclosed | Not disclosed | [6 empty] | 500 | IT MW - State LoI + MoU Oct-2026 | A2 |  |  |  | 500 | Other official | 500 | 5 MoU / LoI / EOI | https://www.prnewswire.com/in/news-releases/trentar-signs-30-000-crore-3-3-bn-mou-with-maharashtra-for-500-mw-green-integrated-data-center-park-302899623.html |  | State LoI + MoU Oct-2026 (reported, A2) | Trentar (Dorf Ketal)
MH50 | Our data | Blackstone / AirTrunk | AirTrunk | Raigad-Pen Growth Centre | Panvel / Raigad | [6 empty] | 3000 | IT MW - State Letter of Intent for land (Jun-2026) | A2 |  |  |  | 3000 | Other official | 3000 | 5 MoU / LoI / EOI | https://www.aninews.in/news/business/maharashtra-issues-letter-of-intent-to-airtrunk-for-rs-2-lakh-crore-data-centre-project-in-raigad20260601123602/ |  | State LoI for land (Jun-2026); 3 GW IT - govt action reported (A2) | Blackstone / AirTrunk
MH51 | Our data | ReNew | ReNew Wind Energy | MMR green DC park (Panvel/Taloja/Khalapur) | Panvel / Raigad | [6 empty] | 750 | IT MW - State MoU Oct-2026 | A2 |  |  |  | 750 | Other official | 750 | 5 MoU / LoI / EOI | https://www.business-standard.com/industry/news/renew-signs-mou-with-maharashtra-for-70-000-crore-green-data-centre-park-126100801226_1.html |  | State MoU Oct-2026 (reported, A2) | ReNew
MH52 | Our data | Avisirah | Avisirah Technologies | Navi Mumbai | Navi Mumbai - TTC | [9 empty] | 5.5 | IT MW - Financed - tier D |  | 0 | Unverified | 5.5 | 6 Company claim / announced only | https://propnewstime.com/latestnewsstories/MzY3MDg=/avisirah-raises-inr-75-crore-for-navi-mumbai-data-centre |  | Small - distribution voltage | Avisirah
MH53 | Our data | ESR | ESR | Rabale | Navi Mumbai - TTC | [9 empty] | 60 | Facility MW - Announced - tier D |  | 0 | Unverified | 60 | 6 Company claim / announced only | https://www.crnasia.com/india/news/2026/esr-enters-india-data-centre-market-with-60-mw-facility-in-mumbai |  |  | ESR
MH54 | Our data | L&T (Vyoma) | Larsen & Toubro | Vyoma EL-200 Mahape | Navi Mumbai - TTC | [9 empty] | 100 | IT MW - SEIAA EC application (Oct-2025) - tier A1 | SEIAA EC - On agenda (M031) | 0 | Unverified | 100 | 6 Company claim / announced only | https://www.larsentoubro.com/pressreleases/2026/2026-01-21-larsen-toubro-vyoma-breaks-ground-on-40-mw-green-ai-ready-data-centre-in-navi-mumbai | https://www.ecmpcb.in/login/download_ec_document/MzI2MjVDNjJFNjhGNEFDMkFCRjA0MDc5NDdENUQ3QjMucGRm | EC on agenda (no MW in record); 40 MW of 100 MW campus per L&T release | L&T
MH55 | Our data | Princeton Digital Group | PDG (India) Management | MU1 Airoli (50 live + 100 expansion) + MU2 (120) | Navi Mumbai - TTC | [9 empty] | 270 | IT MW - MU1: MPCB CTO May-2025; MU2: construction started Apr-2026, no permit found - tier C | MPCB Consent to 1st Operate - Approved (M037) | 0 | Unverified | 270 | 6 Company claim / announced only | https://www.datacenterdynamics.com/en/news/pdg-breaks-ground-on-latest-mumbai-data-center/ | https://mpcb.gov.in/sites/default/files/inline-files/Action_Taken_Report_of_1st_CAC_Meeting_Part_I.pdf | MU1 CTO approved (MPCB) but not in SLDC list - may be fed from a park substation; MW is company-stated | Princeton Digital Group
MH56 | Our data | Zerra | Zerra (AGPDC) | Navi Mumbai 29 acres | Navi Mumbai - TTC | [9 empty] | 240 | IT MW - Company claims consents; no government record found - tier C |  | 0 | Unverified | 240 | 6 Company claim / announced only | https://zerradc.com/projects/navi-mumbai/ |  | Company claims consents; no government record found | Zerra
MH57 | Our data | TCC Concept / NES Data | TCC Concept | Hinjewadi, Pune | Pune | [9 empty] | 60 | IT MW - 4 MW operating; land MoU for 60 MW - tier C |  | 0 | Unverified | 60 | 6 Company claim / announced only | https://www.constructionworld.in/policy-updates-and-economic-news/tcc-concept-plans-60-mw-data-centre-campus-in-pune/95832 |  | Small - likely distribution voltage | TCC Concept / NES Data
|  |  | TOTAL |  |  |  | 6000 | 685 | 204.52 | 1468 | 600 | 7119.667 |  |  | 3600.3 |  |  | 14656.9 |  | 15392.4

## Summary
Maharashtra - what the SLDC data-centre report (Dec-2025) adds to our dataset
https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf
Headline numbers (official, STU / SLDC) | MW | % / note | Comment
Data-centre projects with STU grid connectivity (MMR + PMR) | 36 |  | 31 in MMR, 5 in PMR
Total load sanctioned by STU | 6000 |  | Report: 6,000 MW (MMR 5,385 + PMR 615)
Load realised (final connectivity granted) | 685 | 11.42% | Report: 685 MW (~11% of sanctioned)
Average metered load, last 3 months (18 commissioned DCs) | 204.52 | 33.26% | 33% of the 615 MW granted to these 18 DCs
Maximum metered load, last 3 months | 274.46 | 44.63% | 44% of granted - DCs draw far below sanction today
Sanctioned load scheduled for 2025-2028 | 3130 | 52.17% | Bulk of the ramp is 2025-28, per report
Sanctioned load scheduled for 2029-2036 | 1776 | 29.6% | Long tail to 2036 (Ambernath, Newfound)
Comparison with our Maharashtra data | Projects | SLDC sanctioned MW | What it means
NEW - in SLDC, not in our state data | 11 | 1804 | Add ~2 GW of grid-sanctioned DC load: K Raheja Newfound (250) & Gigaplex (285), Gramercy Infopark (480) & Gramercy Infra Realty (180), STT Pune (200), Airtel Nxtra Mahape + Pune (221), IMCC (106), Innovative (50), Bridge DC (32)
Matched - SLDC gives a bigger / first official MW | 5 | 890 | AWS Powai 225 vs 77; CtrlS 295 + 290 vs 214 IT; Amanthin 130 vs 103; Gramercy Techpark 90 vs 62; Gramercy Business Hub 150 vs 120
Matched - SLDC adds MW where we had none | 3 | 635 | Google/Raiden Turbhe 190 MW; Microsoft (now Adani SPV) Pimpri 155 MW; CtrlS New 290 MW
Matched - SLDC smaller than our (company) figure | 4 | 375 | Sify 160 grid vs 377 campus; Colt DCS-RMZ 60 vs 148; Digital Edge 225 vs 350
Corrects our row | 1 | 150 | AWS Thane (Balkum-Majiwada): 150 MW official vs 272 MW tier-D figure
Matched - consistent | 12 | 2146 | STT Navi Mumbai, NTT, Web Werks, Datascape, Yotta (52 = 52), Microsoft Bhosari (74 vs 75.4), Lodha/Ambernath
Key takeaways
1) Official confirmation of the pipeline: STU has sanctioned ~6 GW of DC load in MMR + Pune (Dec-2025) - vs only ~0.7 GW realised and ~0.2 GW actually drawn on average. The client's 'much bigger than the press' view is supported on sanctions; actual draw lags badly.
2) Utilisation is low: 18 commissioned DCs draw 33% (avg) / 44% (peak) of the 615 MW granted to them - phased IT fit-out, not grid constraints (SLDC's own conclusion).
3) Navi Mumbai (TTC-Mahape-Airoli-Kalwa) is the stress point: almost all MMR projects hang off a handful of 220 kV LILOs (Kalwa-Tiffil, Kharghar-Borivali, Kalwa-Bapgaon, Kalwa-Colourchem, Mahape-Tiffil); NTT and Gramercy Infopark need 400 kV LILOs.
4) This report EXCLUDES ISTS (CTUIL) connections - Support Properties / AdaniConneX 1,468 MW at PG Navi Mumbai and Adani Infra 500 MW at Padghe-Kharghar are on top of the 6 GW.
5) Later events: MERC Case 88/2026 (Jun-2026) raised the Lodha Ambernath park to ~1,450 MW granted + 1,500 MW under consideration (vs 925 MW here), so the 6 GW is already stale on the upside.
6) Projects in our data but not here (no STU sanction by Dec-2025, served by a discom, or announced only): AdaniConneX Taloja (CoreWeave), PDG MU1/MU2, Chandivali, L&T Vyoma, AirTrunk Pen, ReNew, Trentar, Zerra, ESR, MAHAPREIT - see Ours_not_in_SLDC.
Sanctioned DC load by scheduled year (MW)
Ph-I / undated | 1004
2024 | 65
2025 | 705
2026 | 779
2027 | 758.5
2028 | 887.5
2029 | 429
2030 | 558
2031 | 304
2032 | 176
2033 | 84
2034 | 125
2035 | 50
2036 | 50

## By_Group
SLDC sanctioned / realised load by group (MW)
Group (mapped) | Sanctioned (MW) | Realised (MW) | Avg load 3 m (MW) | Projects
Blackstone / AirTrunk (Gramercy SPVs) | 900 | 35 | 5 | 4
AWS (Amazon) | 850 | 0 | 0 | 3
STT GDC | 770 | 97 | 46.63 | 4
NTT | 665 | 90 | 42.19 | 3
CtrlS | 585 | 70 | 43 | 2
K Raheja Corp / Mindspace | 535 | 71 | 7.42 | 2
Google | 320 | 0 | 0 | 2
Microsoft site -> Adani SPVs | 229 | 16 | 0 | 2
Digital Edge | 225 | 25 | 0.97 | 2
Bharti Airtel (Nxtra) | 221 | 121 | 24.18 | 3
Sify | 160 | 100 | 14 | 2
Iron Mountain (Web Werks) | 120 | 0 | 0 | 1
CapitaLand | 120 | 18 | 9 | 1
Unidentified ('IMCC') | 106 | 0 | 0 | 1
Colt DCS - RMZ | 60 | 10 | 1.2 | 1
Yotta (Hiranandani) | 52 | 0 | 0 | 1
Unidentified ('Innovative') | 50 | 0 | 0 | 1
Bridge Data Centres (BDC) | 32 | 32 | 10.93 | 1
Total | 6000 | 685 | 204.52

## SLDC_Projects
Maharashtra SLDC (MahaTransco) - data-centre grid connectivity sanctioned by STU, MMR & PMR (report dated Dec-2025)
Source: 'Preliminary Assessment of Data Centre Load Patterns in the Maharashtra Power System', Maharashtra State Load Despatch Centre, Dec-2025, Tables 1-4 (pp.21-29). Sanctioned = STU-sanctioned load (grid MW). Realised = final grid connectivity granted / load realised. Avg/Max = metered load, last 3 months (Table 4). Covers only STU (state 100-220-400 kV) connections - CTUIL / ISTS connections (e.g. Support Properties 1,468 MW, Adani Infra 500 MW) are NOT in this report.
Region | Sr | Consumer (as in report) | Group (mapped) | Address | Grid connectivity | Sanctioned (MW) | Realised (MW) | Avg load, last 3 m (MW) | Max load, last 3 m (MW) | Match vs our dataset | Our row / project | Our MW & basis | Comment | Report page | Ph-I / undated | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | Schedule total | Group key
MMR | 1 | M/s. ST Telemedia | STT GDC | Thane Belapur Road | LILO on 220 kV Mahape-Tiffil line | 40 |  |  |  | Matched | Row 20 STT GDC TTC Khairane/Mahape | 133 IT MW (with SLDC #14) | SLDC grid sanction for the two STT Navi Mumbai sites = 120 MW | 21 | 40 | [13 empty] | 40 | STT GDC
MMR | 2 | M/s. Innovative | Unidentified ('Innovative') | Khairane MIDC, Navi Mumbai | LILO on 220 kV Mahape-Tiffil ckt of Kalwa-Siemens-Mahape-Tiffil line | 50 |  |  |  | NEW | - | - | Not in our data; sponsor to be identified | 21 | 50 | [13 empty] | 50 | Unidentified ('Innovative')
MMR | 3 | M/s CTRLS | CtrlS | TTC MIDC, Mahape | LILO on ckt-I of 220 kV Kharghar-Borivali D/C | 295 | 70 | 43 | 45 | Matched - bigger | Row 19 CtrlS Mahape DC1-DC7 | 214 IT MW | SLDC: 295 MW sanctioned + 290 MW 'CtrlS New' (#24) = 585 MW grid vs our 214 IT MW. Site visit: 70 MW live, avg 42-45 MW | 21 | 70 | 2025: 50; 2026: 30; 2030: 145 | 295 | CtrlS
MMR | 4 | M/s Newfound | K Raheja Corp (Newfound Properties) - inferred | TTC Industrial Area, Thane, Navi Mumbai | LILO on 220 kV Kharghar-Sonkhar line | 250 | 36 | 0.42 | 4.25 | NEW | v3 MH_Permits only (no MW) | - | Not in state data; 250 MW sanctioned to 2034 | 21 | 36 |  | 19 | 15 | 16 | 32 | 13 | 14 | 10 | 11 | 9 | 75 |  |  | 250 | K Raheja Corp / Mindspace
MMR | 5 | M/s Gigaplex | K Raheja Corp / Mindspace REIT (Gigaplex) - inferred | Airoli Knowledge Park, Airoli | LILO on 220 kV Kalwa-Bapgaon | 285 | 35 | 7 | 27 | NEW | v3 MH_Permits only (no MW) | - | Not in state data; 285 MW sanctioned to 2031 | 21 | 35 | 2025: 40; 2026: 50; 2027: 35; 2028: 25; 2029: 35; 2030: 30; 2031: 35 | 285 | K Raheja Corp / Mindspace
MMR | 6 | M/s Netmagic | NTT | TTC, Mahape | LILO on ckt-1 of 220 kV Kharghar-Borivali D/C | 90 | 25 | 23.19 | 24.68 | Matched | Row 21 NTT NAV1A + NAV2 | 366 IT MW (with #9, #18) | SLDC: NTT sites #6 + #9 + #18 = 665 MW grid | 22 | 35 | 2025: 15; 2026: 10; 2027: 10; 2028: 10; 2029: 10 | 90 | NTT
MMR | 7 | M/s IMCC | Unidentified ('IMCC') | TTC MIDC Zone-A, Ghansoli | LILO on ckt-I of 220 kV Kharghar-Borivali D/C | 106 |  |  |  | NEW | - | - | Not in our data; sponsor to be identified | 22 | 20 | 2025: 20; 2026: 20; 2027: 20; 2028: 26 | 106 | Unidentified ('IMCC')
MMR | 8 | M/s. Nxtra | Bharti Airtel (Nxtra) | TTC, Mahape | LILO on 220 kV Kalwa-Tiffil line | 35 | 35 | 2.28 | 3.5 | NEW | - | - | Not in our MH state data (Airtel Nxtra) | 22 | 35 | [13 empty] | 35 | Bharti Airtel (Nxtra)
MMR | 9 | M/s. Estela Mukund (NTT Global) | NTT | Bhola Nagar, Kalwa | Interim LILO on 220 kV Kalwa-Bapgaon; final LILO on 400 kV Kalwa-Padghe | 500 | 50 | 14 | 15 | Matched | Row 21 NTT NAV2 | 366 IT MW (with #6, #18) | NAV2 = 500 MW facility; our IT figure is consistent | 22 | 120 | 2025: 80; 2026: 150; 2027: 150 | 500 | NTT
MMR | 10 | M/s Amantin (Greenscape) | Google (Amanthin / EverYondr lease) | TTC, Turbhe | LILO on 220 kV Kalwa-Tiffil at proposed 220 kV S/s | 130 |  |  |  | Matched - bigger | Row 11 Amanthin D-31/32 TTC Turbhe | 103.4 connected MW (Form-1A) | SLDC 130 MW grid vs 103.4 MW connected load in EC filing | 22 |  | 2025: 23; 2026: 21; 2027: 21; 2028: 23; 2029: 22; 2030: 20 | 130 | Google
MMR | 11 | M/s Estela Coromandal (Gramercy Infopark Pvt Ltd) | Blackstone / AirTrunk (Gramercy SPV) - inferred | TTC, Mavli, Ghansoli | Interim LILO on 220 kV Kharghar-Borivali; final LILO on 400 kV Kalwa-Kharghar | 480 |  |  |  | NEW | - | - | Largest new item: 480 MW (Mar-2028 to Nov-2031); needs a 400 kV LILO | 22 |  | 2028: 150; 2029: 100; 2030: 100; 2031: 130 | 480 | Blackstone / AirTrunk (Gramercy SPVs)
MMR | 12 | M/s Print House (Sify Infinit Spaces) | Sify | TTC, Rabale | LILO on 220 kV Apta-Kalwa | 90 | 30 | 14 | 19 | Matched - smaller | Row 17 Sify Rabale campus | 377 IT MW (company) | SLDC: Sify #12 + #30 = 160 MW grid vs 377 MW company campus figure | 22 | 30 | 2025: 40; 2027: 10; 2028: 10 | 90 | Sify
MMR | 13 | M/s Estela Hindustan Unilever (Gramercy Techpark) | Blackstone / AirTrunk (Gramercy Techpark) | TTC MIDC, Airoli | LILO on 220 kV Kalwa-Taloja-Panchanand | 90 | 35 | 5 | 10 | Matched - bigger | Row 4 AirTrunk BOM1 (Gramercy Techpark) | 62 IT MW (tier D) | Official grid figure (90 MW) replaces directory-sourced 62 MW | 23 | 35 | 2025: 25; 2026: 30 | 90 | Blackstone / AirTrunk (Gramercy SPVs)
MMR | 14 | M/s. STT Global | STT GDC | TTC MIDC, Khairane | LILO on 220 kV Mahape-Tiffil | 80 | 40 | 5 | 5 | Matched | Row 20 STT GDC | 133 IT MW (with #1) |  | 23 | 40 | 2026: 20; 2027: 20 | 80 | STT GDC
MMR | 15 | M/s. Web Werks | Iron Mountain (Web Werks) | TTC, Rabale | LILO on 220 kV Kalwa-Siemens at proposed 220 kV GIS | 120 |  |  |  | Matched | Row 14 Web Werks MUM-3 | 140 connected MW (SEIAA) |  | 23 | 25 | 2025: 15; 2026: 25; 2027: 55 | 120 | Iron Mountain (Web Werks)
MMR | 16 | M/s. Data Centre Holding | Colt DCS - RMZ | Kalwa Industrial Area, Dighe, Airoli | LILO on 220 kV Kalwa-Colourchem | 60 | 10 | 1.2 | 1.75 | Matched - smaller | Row 23 Colt DCS-RMZ Kalwa | 148 IT MW (potential) | SLDC sanction only 60 MW so far vs 148 MW campus potential | 23 | 10 | 2026: 15; 2028: 10; 2029: 25 | 60 | Colt DCS - RMZ
MMR | 17 | M/s. Datascape | CapitaLand | TTC, Dighe | LILO on 220 kV Kalwa-Bapgaon | 120 | 18 | 9 | 10 | Matched | Row 13 CapitaLand Digha | 135 connected MW (SEIAA) |  | 23 | 18 | 2025: 28; 2026: 22; 2027: 22; 2028: 30 | 120 | CapitaLand
MMR | 18 | M/s. NTT Global DC-13 | NTT | TTC, Bhola Nagar, Kalwa | LILO on 220 kV Kalwa-Bapgaon at 220 kV GIS of NTT NAV2 (DC-13) | 75 | 15 | 5 | 6 | Matched | Row 21 NTT | (with #6, #9) |  | 23 | 15 | 2025: 20; 2026: 40 | 75 | NTT
MMR | 19 | Amazon Data Services Pvt Ltd, Mumbai | AWS (Amazon) | Tungwa, Powai (Kurla) | LILO on 220 kV Salsette-Sahar & Salsette-Saki | 225 |  |  |  | Matched - bigger | Row 10 AWS Powai | 77 connected MW (SEIAA EC) | Grid sanction 225 MW vs 77 MW in the EC - EC covers only the first building(s) | 23 |  | 2025: 12; 2026: 54; 2027: 36; 2028: 48; 2029: 42; 2030: 24; 2031: 9 | 225 | AWS (Amazon)
MMR | 20 | Amazon Data Services Pvt Ltd, Thane | AWS (Amazon) | Balkum & Majiwade, Thane | LILO on 220 kV Colorchem-Temghar | 150 |  |  |  | CORRECTS our row | Row 9 AWS Balkum-Majiwada | 272 IT MW (tier D, social media) | Official: 150 MW sanctioned in 4 x 37.5 MW phases 2025-28. Replace 272 (tier D) with 150 (A1) | 23 |  | 2025: 37.5; 2026: 37.5; 2027: 37.5; 2028: 37.5 | 150 | AWS (Amazon)
MMR | 21 | M/s. Raiden InfoTech India (P) Ltd | Google (Raiden) | Turbhe MIDC, TTC | LILO on 220 kV Kharghar-Sonkhar | 190 |  |  |  | Matched - adds MW | Row 12 Raiden GEN-2/1/A/1 Turbhe | no MW | First MW figure for Google's own Navi Mumbai site: 190 MW, May-2026 to May-2031 | 24 |  | 2026: 20; 2027: 30; 2028: 30; 2029: 30; 2030: 40; 2031: 40 | 190 | Google
MMR | 22 | M/s. Amazon, Ambernath | AWS (Amazon) - Lodha Palava park | Narhen, Usatane, Burdul & Asode, Ambernath | 220 kV D/C from 220 kV Lodha switching station (proposed MSETCL) | 475 |  |  |  | Matched | Row 2 Lodha Palava-Ambernath park | 1,450 approved + 1,500 under consideration (MERC Jun-2026) | Dec-2025: AWS 475 + STT 450 = 925 MW; MERC order (Jun-2026) later raised the park to ~1,450 MW granted. Phase schedule in report sums to 450 | 24 |  | 2028: 150; 2031: 50; 2032: 25; 2033: 75; 2034: 50; 2035: 50; 2036: 50 | 450 | AWS (Amazon)
MMR | 23 | M/s. STT Global, Ambernath | STT GDC - Lodha Palava park | Narhen, Usatane, Burdul & Asode, Ambernath | 220 kV D/C from 220 kV Lodha switching station (proposed MSETCL) | 450 |  |  |  | Matched | Row 2 Lodha park | (with #22) |  | 24 |  | 2027: 150; 2028: 100; 2030: 100; 2032: 100 | 450 | STT GDC
MMR | 24 | M/s. CTRLS New | CtrlS | TTC MIDC, Mahape | 220 kV Mahape-CtrlS GIS D/C UG cable (1 km) | 290 |  |  |  | Matched - adds MW | Row 19 CtrlS | (with #3) | Second CtrlS GIS substation, +290 MW | 24 |  | 2025: 50; 2026: 50; 2027: 50; 2028: 50; 2029: 50; 2030: 40 | 290 | CtrlS
MMR | 25 | M/s. Gramercy Business Hub Pvt Ltd | Blackstone / AirTrunk (Gramercy SPV) - inferred | TTC, Mahape | 220 kV Gramercy switching station; LILO on 220 kV Kharghar-Netmagic | 150 |  |  |  | Matched - bigger | Row 5 AirTrunk BOM2 Mahape | 120 IT MW (company) | Likely AirTrunk BOM2 (Mahape) | 24 |  | 2024: 15; 2025: 30; 2026: 30; 2027: 30; 2028: 30; 2029: 15 | 150 | Blackstone / AirTrunk (Gramercy SPVs)
MMR | 26 | M/s. Gramercy Infra Realty Pvt Ltd | Blackstone / AirTrunk (Gramercy SPV) - inferred | Plot IT-1, IT-2, Knowledge Park, Navi Mumbai | TFR awaited from field office | 180 |  |  |  | NEW | - | - | Not in our data; connectivity still at feasibility (TFR awaited) | 24 |  | 2027: 20; 2028: 30; 2029: 30; 2030: 30; 2031: 30; 2032: 40 | 180 | Blackstone / AirTrunk (Gramercy SPVs)
MMR | 27 | M/s. Digital Edge (AGP) | Digital Edge | Mukund Ltd, Kalwa & Digha | LILO on 100 kV Kalwa-BDC-Mukund I & II | 35 | 25 | 0.97 | 7.77 | Matched - smaller | Row 16 Digital Edge BOM | 350 IT MW (campus) | SLDC: Digital Edge #27 + #28 = 225 MW grid vs 350 MW campus | 25 |  | 2025: 25; 2026: 10 | 35 | Digital Edge
MMR | 28 | M/s. Digital Edge | Digital Edge | Dighe, Thane Belapur Road | LILO of 220 kV DCHI-Colourchem | 190 |  |  |  | Matched - smaller | Row 16 Digital Edge | (with #27) |  | 25 |  | 2025: 50; 2026: 35; 2027: 30; 2028: 30; 2029: 45 | 190 | Digital Edge
MMR | 29 | M/s. Bridge Data Centre | Bridge Data Centres (BDC) | Dighi MIDC, Navi Mumbai | LILO on 100 kV Kalwa-Mukund ckt-1 | 32 | 32 | 10.93 | 11.56 | NEW | - | - | Not in our data; operating (avg ~11 MW) | 25 | 32 | [13 empty] | 32 | Bridge Data Centres (BDC)
MMR | 30 | M/s. Sify Technologies Ltd | Sify | TTC, Rabale | LILO of 100 kV Reliable-Standard Alkali | 70 | 70 |  |  | Matched | Row 17 Sify | (with #12) |  | 25 | 70 | [13 empty] | 70 | Sify
MMR | 31 | Yotta Data Services | Yotta (Hiranandani) | Hiranandani Fortune City, Panvel | - | 52 |  |  |  | Matched | Row 18 Yotta NM1 | 52 IT MW | Exact match | 25 | 52 | [13 empty] | 52 | Yotta (Hiranandani)
PMR | 1 | M/s Microsoft Corporation India Ltd (Bhosari) | Microsoft site -> Adani SPV (Pune Data Center Ltd) | Bhosari, Pimpri Industrial Area, Pune | 220 kV D/C UG cable from 220 kV Century Enka S/s (2 km) | 74 |  |  |  | Matched | Row 8 Pune Data Center Ltd (ACXPNQ26) | 75.4 connected MW (SEIAA) | 74 MW grid = 75.4 MW EC. Schedule in report is cumulative (16.1 -> 74); converted to annual increments | 25 |  | 2025: 51.5; 2026: 22.5 | 74 | Microsoft site -> Adani SPVs
PMR | 2 | M/s Microsoft Corporation India Ltd (Pimpri-Chinchwad) | Microsoft site -> Adani SPV (Pune Data Center Two Ltd) - inferred | Pimpri Chinchwad, Pune | 220 kV D/C UG cable from 220 kV Bhosari-I S/s (4 km) | 155 | 16 | 0 | 0 | Matched - adds MW | v3 P041 Microsoft Pimpri (PNQ06 / ACXPNQ27&29) | no MW | First MW figure for this site: 155 MW (cumulative schedule to Jan-2030) | 25 |  | 2025: 74; 2026: 22; 2027: 16; 2028: 16; 2029: 12; 2030: 15 | 155 | Microsoft site -> Adani SPVs
PMR | 3 | M/s. STT Global Data Centres India Pvt Ltd | STT GDC | Alandi Road, VSNL Old Colony, Dighi, Pune | 220 kV VSNL-STT Global ckt-I & II | 200 | 57 | 41.63 | 57.8 | NEW | - | - | Not in our MH data: 100 MW existing + 100 MW additional; avg load ~42 MW | 26 | 200 | [13 empty] | 200 | STT GDC
PMR | 4 | M/s NXTRA Data Ltd-1 | Bharti Airtel (Nxtra) | MIDC Plot 13/104, Hinjewadi Ph-3, Pune | 2 x 220 kV lines from 400 kV Hinjewadi Ph-III | 36 | 36 | 16.88 | 17.17 | NEW | - | - | Not in our data | 26 | 36 | [13 empty] | 36 | Bharti Airtel (Nxtra)
PMR | 5 | M/s NXTRA Data Ltd-2 | Bharti Airtel (Nxtra) | Hinjewadi Ph-3, Mann, Pune | 220 kV UG D/C from 400/220 kV Hinjewadi Ph-III | 150 | 50 | 5.02 | 8.98 | NEW | - | - | Not in our data | 26 |  | 2024: 50; 2026: 50; 2028: 50 | 150 | Bharti Airtel (Nxtra)
|  | Total - MMR |  |  |  | 5385 | 526 | 140.99 | 190.51
|  | Total - PMR |  |  |  | 615 | 159 | 63.53 | 83.95
|  | GRAND TOTAL (report: 6,000 sanctioned / 685 realised) |  |  |  | 6000 | 685 | 204.52 | 274.46 | [5 empty] | 1004 | 65 | 705 | 779 | 758.5 | 887.5 | 429 | 558 | 304 | 176 | 84 | 125 | 50 | 50 | 5975
Report totals check: MMR 5,385 / 526; PMR 615 / 159; metered avg 204.52 MW, max 274.46 MW (Table 4). Amazon Ambernath phase schedule sums to 450 vs 475 sanctioned (as printed).

## Ours_not_in_SLDC
Maharashtra rows in our dataset with no STU sanction in the SLDC report (Dec-2025)
Our row | Group | Site | Our MW & status | Likely reason not in SLDC
3 | AirTrunk (Blackstone) | Raigad-Pen Growth Centre | 3,000 IT MW - LoI Jun-2026 | Announced after Dec-2025; no grid application yet
6 | Adani Group (AdaniConneX / CoreWeave) | Taloja campus | 240 IT MW - contracted | Likely fed via ISTS: Adani Infra 10 x 50 MW CTUIL filing at Padghe-Kharghar (outside SLDC scope)
7 | Adani Group (Support Properties) | A-GEN-4 TTC Rabale/Ghansoli | CTUIL 1,468 MW approved | ISTS connection at POWERGRID Navi Mumbai - outside STU scope
15 | Unidentified (Chandivali) | Saki Vihar-Chandivali, Mumbai | 113.9 connected MW - EC stage | Mumbai city - likely supplied by Tata Power / AEML licensee network, not STU
22 | Princeton Digital Group | MU1 Airoli + MU2 | 150 + 120 IT MW | Not listed - may be supplied at 22/33 kV by MSEDCL or via a co-located park; check
24 | L&T | Vyoma EL-200 Mahape | 100 IT MW - EC application | Connectivity application probably after Dec-2025
25 | ReNew | MMR green DC park | 750 IT MW - MoU Oct-2026 | Announced after report
26 | Trentar | Undisclosed | 500 IT MW - LoI Oct-2026 | Announced after report
27 | Zerra | Navi Mumbai 29 acres | 240 IT MW - company claim | No STU sanction - supports treating as unverified
28 | MAHAPREIT | State DC project | 200 MW - EOI | EOI stage
29 | ESR | Rabale | 60 MW - announced | Announced only
30 | TCC Concept / NES Data | Hinjewadi, Pune | 4 op + 56 MW | Small - likely at distribution voltage
31 | Avisirah | Navi Mumbai | 5.5 MW | Small - distribution voltage