## Chart_Data
Maharashtra data-centre power by group - verifiable MW, EXCLUDING CTUIL (no double counting)
Every number is a SUMIFS on MH_Master_List: column S (verifiable MW) for rows of that group (col Z), excluding rows whose primary record (col B) is 'CTUIL', split by stage (col V). Each project appears in exactly one row of MH_Master_List, so groups cannot double count. Facility (grid) MW, not IT MW.
Group | Grid sanctioned / approved (SLDC, MERC) | Grid under consideration (MERC) | Permit only (EC connected load) | MoU / LoI / EOI (not yet on grid) | TOTAL excl. CTUIL (MW) | of which realised today (SLDC) | Callout text (MoU / LoI items) | Rows in MH_Master_List | Note
Blackstone / AirTrunk | 900 | 0 | 0 | 3000 | 3900 | 35 | AirTrunk - Raigad-Pen Growth Centre: 3,000 MW, State Letter of Intent for land (Jun-2026) (MH50) | MH02, MH25, MH26, MH27, MH50 | Gramercy SPVs mapped to Blackstone/AirTrunk by inference (BOM1 = Gramercy Techpark)
Ambernath park (MERC add-on) | 525 | 1500 | 0 | 0 | 2025 | 0 |  | MH21, MH39 | MERC Case 88/2026: 1,450 MW granted (vs 925 in SLDC for AWS + STT, shown in their bars) + 1,500 MW under consideration; tenant split not disclosed
AWS (Amazon) | 850 | 0 | 0 | 0 | 850 | 0 |  | MH20, MH23, MH38 | Powai 225, Thane 150, Ambernath 475 (SLDC)
STT GDC | 770 | 0 | 0 | 0 | 770 | 97 |  | MH13, MH19, MH22, MH33 | Navi Mumbai 40 + 80, Ambernath 450, Pune 200 (SLDC)
ReNew | 0 | 0 | 0 | 750 | 750 | 0 | ReNew Wind Energy - MMR green DC park: 750 MW, State MoU Oct-2026 (MH51) | MH51
NTT | 665 | 0 | 0 | 0 | 665 | 90 |  | MH10, MH11, MH12
CtrlS | 585 | 0 | 0 | 0 | 585 | 70 |  | MH06, MH28
K Raheja Corp / Mindspace | 535 | 0 | 0 | 0 | 535 | 71 |  | MH08, MH09
Trentar (Dorf Ketal) | 0 | 0 | 0 | 500 | 500 | 0 | Trentar Pvt Ltd - Location not disclosed: 500 MW, State LoI + MoU Oct-2026 (MH49) | MH49
Google | 320 | 0 | 0 | 0 | 320 | 0 |  | MH30, MH31
Adani Group | 229 | 0 | 0 | 0 | 229 | 16 |  | MH16, MH37 | Only the two ex-Microsoft Pune sites; Adani's other MH power (Support Properties 1,468, Adani Infra 500) is CTUIL and excluded
Digital Edge | 225 | 0 | 0 | 0 | 225 | 25 |  | MH07, MH29
Bharti Airtel (Nxtra) | 221 | 0 | 0 | 0 | 221 | 121 |  | MH01, MH17, MH18
MAHAPREIT (state) | 0 | 0 | 0 | 200 | 200 | 0 | MAHAPREIT - State DC project: 200 MW, EOI stage (MH48) | MH48
Sify | 160 | 0 | 0 | 0 | 160 | 100 |  | MH14, MH15
CapitaLand | 120 | 0 | 0 | 0 | 120 | 18 |  | MH04
Iron Mountain (Web Werks) | 120 | 0 | 0 | 0 | 120 | 0 |  | MH32
Unidentified (Chandivali) | 0 | 0 | 113.9 | 0 | 113.9 | 0 |  | MH43
Unidentified ('IMCC') | 106 | 0 | 0 | 0 | 106 | 0 |  | MH34
Colt DCS - RMZ | 60 | 0 | 0 | 0 | 60 | 10 |  | MH05
Yotta (Hiranandani) | 52 | 0 | 0 | 0 | 52 | 0 |  | MH36
Unidentified ('Innovative') | 50 | 0 | 0 | 0 | 50 | 0 |  | MH35
Bridge Data Centres | 32 | 0 | 0 | 0 | 32 | 32 |  | MH03
TOTAL | 6525 | 1500 | 113.9 | 4450 | 12588.9 | 685
Check: all verifiable MW in MH_Master_List excl. CTUIL | 12588.9
Difference (must be 0) | 0
For reference: CTUIL rows excluded (MW) | 2068
For reference: total incl. CTUIL | 14656.9
Not in the chart: rows with no verifiable MW (company / press claims only: PDG 270, Zerra 240, L&T Vyoma 100, ESR 60, TCC 60, Avisirah 5.5; permit records without MW).
Grey 'Permit only' = Chandivali 113.9 MW connected load in SEIAA EC minutes (no grid record yet).

## MH_Master_List
Maharashtra data centres - combined master list (SLDC grid + CTUIL + MERC + permits + our dataset), one row per project
Verifiable MW = figure found in an official record, in priority order: SLDC/STU sanctioned load (Dec-2025) > CTUIL GNA (approved + under process) > other official (MERC order, EC/SEIAA connected load, state GO/LoI/MoU/EOI). Company / press figures are shown separately and NOT counted as verifiable. Grid MW (SLDC, CTUIL, MERC) and connected-load MW are facility power, not IT MW (IT is roughly 55-65% of facility load per SLDC).
ID | Primary record | Group | Company / SPV (as filed) | Site / location | Cluster | Grid connection | SLDC sanctioned (MW) | SLDC realised (MW) | SLDC avg load 3 m (MW) | CTUIL approved (MW) | CTUIL under process (MW) | Other official (MW) | Other official basis | Other official tier | Company / press (MW) | Company / press basis & tier | Permits (EC / MPCB) | VERIFIABLE MW | Verifiable source | Indicative MW (incl. unverified) | Stage | Primary source | Other source | Notes | Chart group
MH01 | SLDC | Bharti Airtel (Nxtra) | M/s. Nxtra | TTC, Mahape | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Tiffil line | 35 | 35 | 2.28 | [7 empty] | SEIAA EC (expansion) - Granted (M022); MPCB CTE expansion (Feb-25); CTO part (Jun-25) - Approved (M023) | 35 | SLDC | 35 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=23 | https://assets.airtel.in/nxtra/pdf/EC_Environmental_Clearance_Certificate_Nxtra%20Mahape_DC-02_25.11.25.pdf | SLDC MMR #8. Not in our MH state data (Airtel Nxtra) | Bharti Airtel (Nxtra)
MH02 | SLDC | Blackstone / AirTrunk (Gramercy SPVs) - inferred | M/s Estela Hindustan Unilever (Gramercy Techpark) | TTC MIDC, Airoli | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Taloja-Panchanand | 90 | 35 | 5 | [5 empty] | 62 | IT MW - tier D | MPCB Consent to Establish - Approved (M024); MPCB / SEIAA CTO (part); EC expansion - Approved / on agenda (M025) | 90 | SLDC | 90 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 | https://mpcb.gov.in/sites/default/files/inline-files/Minutes%20of%2015th%20CAC%20Establish%20Booklet%20no%2065.pdf | SLDC MMR #13. Official grid figure (90 MW) replaces directory-sourced 62 MW | Blackstone / AirTrunk
MH03 | SLDC | Bridge Data Centres | M/s. Bridge Data Centre | Dighi MIDC, Navi Mumbai | Navi Mumbai - TTC | LILO on 100 kV Kalwa-Mukund ckt-1 | 32 | 32 | 10.93 | [7 empty] | MPCB CTO renewal - Approved (M040) | 32 | SLDC | 32 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=26 | https://mpcb.gov.in/sites/default/files/inline-files/Index_Of_15th_CAC_Meeting.pdf | SLDC MMR #29. Not in our data; operating (avg ~11 MW) | Bridge Data Centres
MH04 | SLDC | CapitaLand | M/s. Datascape | TTC, Dighe | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Bapgaon | 120 | 18 | 9 |  |  | 135 | EC / Form-1A connected load | A1 | 135 | Connected MW - tier A1 | SEIAA EC (expansion) - Discussed (M005); MPCB Consent to Establish - Listed (M006); MPCB Consent to 1st Operate (part) - Approved (M007) | 120 | SLDC | 120 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 | https://environmentclearance.nic.in/writereaddata/FormB/agenda/1509202585756580%28740114%29MINUTESOF301DAY-4TABLEITEM-Copy.pdf | SLDC MMR #17. | CapitaLand
MH05 | SLDC | Colt DCS - RMZ | M/s. Data Centre Holding | Kalwa Industrial Area, Dighe, Airoli | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Colourchem | 60 | 10 | 1.2 | [5 empty] | 148 | IT MW - tier C | MPCB CTO / renewal - Approved (M039) | 60 | SLDC | 60 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 | https://indianinfrastructure.com/2026/10/16/colt-dcs-and-rmz-begin-construction-of-third-data-centre-in-mumbai/ | SLDC MMR #16. SLDC sanction only 60 MW so far vs 148 MW campus potential | Colt DCS - RMZ
MH06 | SLDC | CtrlS | M/s CTRLS | TTC MIDC, Mahape | Navi Mumbai - TTC | LILO on ckt-I of 220 kV Kharghar-Borivali D/C | 295 | 70 | 43 | [5 empty] | 214 | IT MW - tier A1 | MPCB CTE for expansion - Approved (M038) | 295 | SLDC | 295 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=22 | https://www.ctrls.com/ | SLDC MMR #3. SLDC: 295 MW sanctioned + 290 MW 'CtrlS New' (#24) = 585 MW grid vs our 214 IT MW. Site visit: 70 MW live, avg 42-45 MW | CtrlS
MH07 | SLDC | Digital Edge | M/s. Digital Edge (AGP) | Mukund Ltd, Kalwa & Digha | Navi Mumbai - TTC | LILO on 100 kV Kalwa-BDC-Mukund I & II | 35 | 25 | 0.97 | [7 empty] | MPCB Consent to 1st Operate - Approved (M020) | 35 | SLDC | 35 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=26 | https://mpcb.gov.in/sites/default/files/inline-files/Action_Taken_Report_of_17th_CAC_Booklet_no_17_2024-25.pdf | SLDC MMR #27. SLDC: Digital Edge #27 + #28 = 225 MW grid vs 350 MW campus | Digital Edge
MH08 | SLDC | K Raheja Corp / Mindspace | M/s Newfound | TTC Industrial Area, Thane, Navi Mumbai | Navi Mumbai - TTC | LILO on 220 kV Kharghar-Sonkhar line | 250 | 36 | 0.42 | [7 empty] | SEIAA / MPCB CTO Part-I for Bldg 5A (Data Centre) - Approved (M033) | 250 | SLDC | 250 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=22 | https://mpcb.gov.in/sites/default/files/inline-files/Action_Taken_Report_of_17th_CAC_Booklet_no_17_2024-25.pdf | SLDC MMR #4. Not in state data; 250 MW sanctioned to 2034 | K Raheja Corp / Mindspace
MH09 | SLDC | K Raheja Corp / Mindspace | M/s Gigaplex | Airoli Knowledge Park, Airoli | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Bapgaon | 285 | 35 | 7 | [7 empty] | SEIAA / MPCB CTO application; EC amendment - Listed (M034) | 285 | SLDC | 285 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=22 | https://mpcb.gov.in/sites/default/files/inline-files/Index_of_4th_CAC_Meeting_of_2025-26.pdf | SLDC MMR #5. Not in state data; 285 MW sanctioned to 2031 | K Raheja Corp / Mindspace
MH10 | SLDC | NTT | M/s Netmagic | TTC, Mahape | Navi Mumbai - TTC | LILO on ckt-1 of 220 kV Kharghar-Borivali D/C | 90 | 25 | 23.19 | [8 empty] | 90 | SLDC | 90 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=23 |  | SLDC MMR #6. SLDC: NTT sites #6 + #9 + #18 = 665 MW grid | NTT
MH11 | SLDC | NTT | M/s. Estela Mukund (NTT Global) | Bhola Nagar, Kalwa | Navi Mumbai - TTC | Interim LILO on 220 kV Kalwa-Bapgaon; final LILO on 400 kV Kalwa-Padghe | 500 | 50 | 14 | [5 empty] | 366 | IT MW - tier C | MPCB CTO; renewal (part) - Approved (M036) | 500 | SLDC | 500 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=23 | https://www.datacenterdynamics.com/en/news/ntt-announces-500mw-nav2-data-center-in-navi-mumbai-india/ | SLDC MMR #9. NAV2 = 500 MW facility; our IT figure is consistent | NTT
MH12 | SLDC | NTT | M/s. NTT Global DC-13 | TTC, Bhola Nagar, Kalwa | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Bapgaon at 220 kV GIS of NTT NAV2 (DC-13) | 75 | 15 | 5 | [8 empty] | 75 | SLDC | 75 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 |  | SLDC MMR #18. | NTT
MH13 | SLDC | STT GDC | M/s. STT Global | TTC MIDC, Khairane | Navi Mumbai - TTC | LILO on 220 kV Mahape-Tiffil | 80 | 40 | 5 | [5 empty] | 133 | IT MW - tier A1 | MPCB CTE; CTO (part); amendment - Approved (M035) | 80 | SLDC | 80 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 | https://www.sttelemediagdc.com/in-en/locations/mumbai | SLDC MMR #14. | STT GDC
MH14 | SLDC | Sify | M/s Print House (Sify Infinit Spaces) | TTC, Rabale | Navi Mumbai - TTC | LILO on 220 kV Apta-Kalwa | 90 | 30 | 14 | [5 empty] | 377 | IT MW - tier A1 | SEIAA / MPCB EC expansion; CTE expansion - Approved / on agenda (M028) | 90 | SLDC | 90 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=23 | https://www.sifytechnologies.com/data-center/rabale-data-center/ | SLDC MMR #12. SLDC: Sify #12 + #30 = 160 MW grid vs 377 MW company campus figure | Sify
MH15 | SLDC | Sify | M/s. Sify Technologies Ltd | TTC, Rabale | Navi Mumbai - TTC | LILO of 100 kV Reliable-Standard Alkali | 70 | 70 | [9 empty] | 70 | SLDC | 70 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=26 |  | SLDC MMR #30. | Sify
MH16 | SLDC | Adani Group (ex-Microsoft site) - inferred | M/s Microsoft Corporation India Ltd (Pimpri-Chinchwad) | Pimpri Chinchwad, Pune | Pune | 220 kV D/C UG cable from 220 kV Bhosari-I S/s (4 km) | 155 | 16 | 0 | [7 empty] | MPCB Consent to Establish - Approved (M017); SEIAA EC - On agenda (M018) | 155 | SLDC | 155 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=26 | https://mpcb.gov.in/sites/default/files/inline-files/Minutes%20of%2015th%20CAC%20Establish%20Booklet%20no%2065.pdf | SLDC PMR #2. First MW figure for this site: 155 MW (cumulative schedule to Jan-2030) | Adani Group
MH17 | SLDC | Bharti Airtel (Nxtra) | M/s NXTRA Data Ltd-1 | MIDC Plot 13/104, Hinjewadi Ph-3, Pune | Pune | 2 x 220 kV lines from 400 kV Hinjewadi Ph-III | 36 | 36 | 16.88 | [8 empty] | 36 | SLDC | 36 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=27 |  | SLDC PMR #4. Not in our data | Bharti Airtel (Nxtra)
MH18 | SLDC | Bharti Airtel (Nxtra) | M/s NXTRA Data Ltd-2 | Hinjewadi Ph-3, Mann, Pune | Pune | 220 kV UG D/C from 400/220 kV Hinjewadi Ph-III | 150 | 50 | 5.02 | [7 empty] | MPCB CTE expansion; CTO (part) - Approved (after SCN) (M043) | 150 | SLDC | 150 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=27 | https://mpcb.gov.in/sites/default/files/inline-files/Action_Taken_Report_of_16th_CAC_Booklet_no._16_%281%29.pdf | SLDC PMR #5. Not in our data | Bharti Airtel (Nxtra)
MH19 | SLDC | STT GDC | M/s. STT Global Data Centres India Pvt Ltd | Alandi Road, VSNL Old Colony, Dighi, Pune | Pune | 220 kV VSNL-STT Global ckt-I & II | 200 | 57 | 41.63 | [8 empty] | 200 | SLDC | 200 | 1 Grid sanctioned - partly live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=27 |  | SLDC PMR #3. Not in our MH data: 100 MW existing + 100 MW additional; avg load ~42 MW | STT GDC
MH20 | SLDC | AWS (Amazon) | M/s. Amazon, Ambernath | Narhen, Usatane, Burdul & Asode, Ambernath | Ambernath (Lodha Palava park) | 220 kV D/C from 220 kV Lodha switching station (proposed MSETCL) | 475 | [10 empty] | 475 | SLDC | 475 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=25 |  | SLDC MMR #22. Dec-2025: AWS 475 + STT 450 = 925 MW; MERC order (Jun-2026) later raised the park to ~1,450 MW granted. Phase schedule in report sums to 450 | AWS (Amazon)
MH21 | MERC | Lodha park (AWS, STT + 1 more) | Maharashtra STU - Ambernath 400/220 kV (Lodha-funded) | Ambernath (Palava) - increase in STU grant Dec-25 -> Jun-26 | Ambernath (Lodha Palava park) | 400/220 kV Ambernath S/s (TBCB annulled; STU to build) | [5 empty] | 525 | Derived: MERC 1,450 MW granted (Jun-2026) less SLDC 925 MW (AWS 475 + STT 450, Dec-2025) | A1 |  |  |  | 525 | Other official | 525 | 2 Grid sanctioned / approved - not yet live | https://merc.gov.in/wp-content/uploads/2026/06/Order-88-of-2026.pdf |  | MERC Case 88/2026 para 7.15. AWS Ambernath EC filing (473 MW) sits inside this park - not added separately | Ambernath park (MERC add-on)
MH22 | SLDC | STT GDC | M/s. STT Global, Ambernath | Narhen, Usatane, Burdul & Asode, Ambernath | Ambernath (Lodha Palava park) | 220 kV D/C from 220 kV Lodha switching station (proposed MSETCL) | 450 | [10 empty] | 450 | SLDC | 450 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=25 |  | SLDC MMR #23. | STT GDC
MH23 | SLDC | AWS (Amazon) | Amazon Data Services Pvt Ltd, Mumbai | Tungwa, Powai (Kurla) | Mumbai city | LILO on 220 kV Salsette-Sahar & Salsette-Saki | 225 |  |  |  |  | 77 | EC / Form-1A connected load | A1 | 77 | Connected MW - tier A1 | SEIAA EC - Discussed (M010); MPCB Consent to Establish - Approved (M011) | 225 | SLDC | 225 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 | https://environmentclearance.nic.in/writereaddata/FormB/agenda/1509202585756580%28740114%29MINUTESOF301DAY-4TABLEITEM-Copy.pdf | SLDC MMR #19. Grid sanction 225 MW vs 77 MW in the EC - EC covers only the first building(s) | AWS (Amazon)
MH24 | CTUIL | Adani Group (AdaniConneX) | Support Properties Pvt Ltd ('ACXNMI-01') | A-GEN-4 TTC Rabale / Ghansoli; 400 kV POWERGRID Navi Mumbai (GIS) | Navi Mumbai - TTC | ISTS - 400 kV PG Navi Mumbai (GIS) |  |  |  | 1468 | [6 empty] | SEIAA / MPCB EC expansion; CTE (Feb-24) - On agenda / approved (M027) | 1468 | CTUIL | 1468 | 2 Grid sanctioned / approved - not yet live | https://ctuil.in/nswsapi/gna | https://www.ecmpcb.in/login/download_ec_document/MjMyMTI2NEMzMjYzNDM5M0IxRTJDRDY5MENBNDZFODcucGRm | 17 GNA applications (13 x 50 + 418 + 74 + 174 + 152) approved; AdaniConneX subsidiary since 2023. Not in SLDC (ISTS, not STU) | Adani Group
MH25 | SLDC | Blackstone / AirTrunk (Gramercy SPVs) - inferred | M/s Estela Coromandal (Gramercy Infopark Pvt Ltd) | TTC, Mavli, Ghansoli | Navi Mumbai - TTC | Interim LILO on 220 kV Kharghar-Borivali; final LILO on 400 kV Kalwa-Kharghar | 480 | [10 empty] | 480 | SLDC | 480 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=23 |  | SLDC MMR #11. Largest new item: 480 MW (Mar-2028 to Nov-2031); needs a 400 kV LILO | Blackstone / AirTrunk
MH26 | SLDC | Blackstone / AirTrunk (Gramercy SPVs) - inferred | M/s. Gramercy Business Hub Pvt Ltd | TTC, Mahape | Navi Mumbai - TTC | 220 kV Gramercy switching station; LILO on 220 kV Kharghar-Netmagic | 150 | [7 empty] | 120 | IT MW - tier C | MPCB Consent to Establish - Approved (M026) | 150 | SLDC | 150 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=25 | https://airtrunk.com/location/bom2-mumbai/ | SLDC MMR #25. Likely AirTrunk BOM2 (Mahape) | Blackstone / AirTrunk
MH27 | SLDC | Blackstone / AirTrunk (Gramercy SPVs) - inferred | M/s. Gramercy Infra Realty Pvt Ltd | Plot IT-1, IT-2, Knowledge Park, Navi Mumbai | Navi Mumbai - TTC | TFR awaited from field office | 180 | [10 empty] | 180 | SLDC | 180 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=25 |  | SLDC MMR #26. Not in our data; connectivity still at feasibility (TFR awaited) | Blackstone / AirTrunk
MH28 | SLDC | CtrlS | M/s. CTRLS New | TTC MIDC, Mahape | Navi Mumbai - TTC | 220 kV Mahape-CtrlS GIS D/C UG cable (1 km) | 290 | [10 empty] | 290 | SLDC | 290 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=25 |  | SLDC MMR #24. Second CtrlS GIS substation, +290 MW | CtrlS
MH29 | SLDC | Digital Edge | M/s. Digital Edge | Dighe, Thane Belapur Road | Navi Mumbai - TTC | LILO of 220 kV DCHI-Colourchem | 190 | [7 empty] | 350 | IT MW - tier C | MPCB Consent to Establish - Approved (M019); SEIAA EC - Granted (M021) | 190 | SLDC | 190 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=26 | https://www.digitaledgedc.com/products-services/data-centers/india/ | SLDC MMR #28. | Digital Edge
MH30 | SLDC | Google | M/s Amantin (Greenscape) | TTC, Turbhe | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Tiffil at proposed 220 kV S/s | 130 |  |  |  |  | 103.367 | EC / Form-1A connected load | A1 | 103.4 | Connected MW - tier A1 | SEAC-II EC application - n/a (M001) | 130 | SLDC | 130 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=23 | https://environmentclearance.nic.in/DownloadPfdFile.aspx?FileName=Kwy+a1Xl%2FGHp2kMbJYBd8GPrFSz%2FNzzr1mrm87hA6RfsBvasy5U%2FhwjR4PRxBwwupD8Lw8MExL5FqtSFZLEOTQ%3D%3D&FilePath=93ZZBm8LWEXfg+HAlQix2fE2t8z%2FpgnoBhDlYdZCxzXTbTpOQqzWjBW0IF63rxBVcDlG0LKdfbGNs0Ou%2FTEvAA%3D%3D | SLDC MMR #10. SLDC 130 MW grid vs 103.4 MW connected load in EC filing | Google
MH31 | SLDC | Google | M/s. Raiden InfoTech India (P) Ltd | Turbhe MIDC, TTC | Navi Mumbai - TTC | LILO on 220 kV Kharghar-Sonkhar | 190 | [8 empty] | n/a - tier A1 | MPCB Consent to Establish - Approved (M002); SEIAA EC application - On agenda (M003) | 190 | SLDC | 190 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=25 | https://mpcb.gov.in/sites/default/files/inline-files/Action_Taken_report_of_5th_CAC_Booklet_no_5_0.pdf | SLDC MMR #21. First MW figure for Google's own Navi Mumbai site: 190 MW, May-2026 to May-2031 | Google
MH32 | SLDC | Iron Mountain (Web Werks) | M/s. Web Werks | TTC, Rabale | Navi Mumbai - TTC | LILO on 220 kV Kalwa-Siemens at proposed 220 kV GIS | 120 |  |  |  |  | 140 | EC / Form-1A connected load | A1 | 140 | Connected MW - tier A1 | SEIAA EC (new DC buildings) - Discussed (M008); MPCB Consent to Establish - Approved (M009) | 120 | SLDC | 120 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 | https://environmentclearance.nic.in/writereaddata/FormB/agenda/1509202585756580%28740114%29MINUTESOF301DAY-4TABLEITEM-Copy.pdf | SLDC MMR #15. | Iron Mountain (Web Werks)
MH33 | SLDC | STT GDC | M/s. ST Telemedia | Thane Belapur Road | Navi Mumbai - TTC | LILO on 220 kV Mahape-Tiffil line | 40 | [10 empty] | 40 | SLDC | 40 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=22 |  | SLDC MMR #1. SLDC grid sanction for the two STT Navi Mumbai sites = 120 MW | STT GDC
MH34 | SLDC | Unidentified ('IMCC') | M/s IMCC | TTC MIDC Zone-A, Ghansoli | Navi Mumbai - TTC | LILO on ckt-I of 220 kV Kharghar-Borivali D/C | 106 | [10 empty] | 106 | SLDC | 106 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=23 |  | SLDC MMR #7. Not in our data; sponsor to be identified | Unidentified ('IMCC')
MH35 | SLDC | Unidentified ('Innovative') | M/s. Innovative | Khairane MIDC, Navi Mumbai | Navi Mumbai - TTC | LILO on 220 kV Mahape-Tiffil ckt of Kalwa-Siemens-Mahape-Tiffil line | 50 | [10 empty] | 50 | SLDC | 50 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=22 |  | SLDC MMR #2. Not in our data; sponsor to be identified | Unidentified ('Innovative')
MH36 | SLDC | Yotta (Hiranandani) | Yotta Data Services | Hiranandani Fortune City, Panvel | Panvel / Raigad | - | 52 | [7 empty] | 52 | IT MW - tier C | MPCB Renewal of consent - Approved (M041) | 52 | SLDC | 52 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=26 | https://colocation.yotta.com/data-center/nm1-datacenter-mumbai-region-maharashtra/ | SLDC MMR #31. Exact match | Yotta (Hiranandani)
MH37 | SLDC | Adani Group (ex-Microsoft site) | M/s Microsoft Corporation India Ltd (Bhosari) | Bhosari, Pimpri Industrial Area, Pune | Pune | 220 kV D/C UG cable from 220 kV Century Enka S/s (2 km) | 74 |  |  |  |  | 75.4 | EC / Form-1A connected load | A1 | 75.4 | Connected MW - tier A1 | SEIAA EC (expansion) - Referred back to SEAC-III (M015); MPCB Consent to Establish - Approved (M016) | 74 | SLDC | 74 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=26 | https://environmentclearance.nic.in/writereaddata/FormB/agenda/2302202697285484%28921161%29MINUTESOF319DAY-5PART-B.pdf | SLDC PMR #1. 74 MW grid = 75.4 MW EC. Schedule in report is cumulative (16.1 -> 74); converted to annual increments | Adani Group
MH38 | SLDC | AWS (Amazon) | Amazon Data Services Pvt Ltd, Thane | Balkum & Majiwade, Thane | Thane | LILO on 220 kV Colorchem-Temghar | 150 | [7 empty] | 272 | IT MW - tier D | MPCB Consent to Establish - Approved (M012); SEIAA EC application - On agenda (M013) | 150 | SLDC | 150 | 2 Grid sanctioned / approved - not yet live | https://mahasldc.in/assets/public-ui/files/Data_Centre.pdf#page=24 | https://x.com/cbdhage/status/1762797367529480646 | SLDC MMR #20. Official: 150 MW sanctioned in 4 x 37.5 MW phases 2025-28. Replace 272 (tier D) with 150 (A1) | AWS (Amazon)
MH39 | MERC | Lodha park (AWS, STT + 1 more) | Maharashtra STU - Ambernath (connectivity under consideration) | Ambernath (Palava) | Ambernath (Lodha Palava park) | 400/220 kV Ambernath S/s | [5 empty] | 1500 | MERC: ~1,500 MW additional load under consideration by STU | A1 |  |  |  | 1500 | Other official | 1500 | 3 Grid applied / under consideration | https://merc.gov.in/wp-content/uploads/2026/06/Order-88-of-2026.pdf |  | One more DC's application under process (MERC para 7.6); park total 2,950 MW | Ambernath park (MERC add-on)
MH40 | CTUIL | Adani Group (Adani Infra / AdaniConneX) | Adani Infra (India) Ltd - likely AdaniConneX Taloja (CoreWeave) | LILO of 400 kV Padghe-Kharghar (Taloja / Kharghar belt) | Panvel / Raigad | ISTS - LILO of 400 kV Padghe-Kharghar |  |  |  |  | 500 |  |  |  | 240 | IT MW - tier C (CoreWeave release; 480 MW option) |  | 500 | CTUIL | 500 | 3 Grid applied / under consideration | https://ctuil.in/nswsapi/gna | https://investors.coreweave.com/news/news-details/2026/CoreWeave-Enters-India-Expanding-AI-Cloud-Platform-With-AdaniConneX/default.aspx | 10 x 50 MW GNA under process (May-Jun 2026). Link to Taloja/CoreWeave campus is inferred (location + timing) | Adani Group
MH41 | CTUIL | SITAC Group | Vardhexa Data Centre Pvt Ltd | Pune (Talegaon) 400 kV | Pune | ISTS - Pune (Talegaon) |  |  |  |  | 100 | [6 empty] | 100 | CTUIL | 100 | 3 Grid applied / under consideration | https://ctuil.in/nswsapi/gna |  | 1 GNA application (16-09-2026). Not in our earlier state data. SITAC group mapping per your research | SITAC Group
MH42 | Permits | NTT | NTT Global Data Centers & Cloud Infrastructure India | Saki Vihar / Marol, Mumbai | Mumbai city | [11 empty] | MPCB CTO renewal - Listed (M044) | 0 | No MW | 0 | 4 Permit only (no grid record) | https://mpcb.gov.in/sites/default/files/inline-files/Agenda%20Index%20of%2013th%20CAC%20Meeting.pdf |  | Existing NTT (ex-Netmagic) Saki Vihar DC - CTO renewal; served by Mumbai licensee | NTT
MH43 | Our data | Unidentified (Chandivali) | Tusshar Infra Developers & Pantheon Buildcon | Saki Vihar-Chandivali, Mumbai | Mumbai city | [6 empty] | 113.9 | Connected MW - EC (expansion) under appraisal 2025 | A1 |  |  | SEIAA EC (expansion) - 'Commercial IT (Data Centre)' - Discussed (M014) | 113.9 | Other official | 113.9 | 4 Permit only (no grid record) | https://environmentclearance.nic.in/writereaddata/FormB/agenda/2107202594781152MINUTESOF296DAY-3PART-B.pdf | https://environmentclearance.nic.in/writereaddata/FormB/agenda/2107202594781152MINUTESOF296DAY-3PART-B.pdf | EC (expansion) under appraisal - 113.9 MW connected load in SEIAA minutes (A1); likely Tata Power / AEML supply, so not in SLDC | Unidentified (Chandivali)
MH44 | Permits | NTT (likely - Bearys builds NTT campuses) | Bearys Properties & Developments Pvt Ltd | Plot ES-05, TTC Mahape | Navi Mumbai - TTC | [11 empty] | SEIAA EC - On agenda (M030) | 0 | No MW | 0 | 4 Permit only (no grid record) | https://www.ecmpcb.in/login/download_ec_document/QjJCMzlBQzg5M0MzNDZERjg1NDQxQTZGN0YzQzE0MjMucGRm |  | EC on agenda for Plot ES-05 Mahape; may be part of an NTT SLDC line | NTT
MH45 | Permits | Unidentified (Gargantuan Industrial Space) | Gargantuan Industrial Space Solutions Pvt Ltd | Plot R-978, Sector 8, Rabale | Navi Mumbai - TTC | [11 empty] | SEIAA EC expansion - On agenda (M029) | 0 | No MW | 0 | 4 Permit only (no grid record) | https://www.ecmpcb.in/login/download_ec_document/ODY2MDg5MDRCMzNGNDNCN0JEMTFBNDUzNEI4MjlGNEQucGRm |  | EC expansion on agenda; no MW, no grid record | Unidentified (Gargantuan Industrial Space)
MH46 | Permits | L&T | Larsen & Toubro Ltd | S.No. 39, 42, 49 Bhokarpada, Panvel | Panvel / Raigad | [11 empty] | SEIAA EC (DC + residential) - On agenda (M032) | 0 | No MW | 0 | 4 Permit only (no grid record) | https://www.ecmpcb.in/login/download_ec_document/MzMzQzM2MDM3QkQ5NEYxQUIyOTNEMjAyNEE2NUNFODgucGRm |  | EC for DC + residential at Bhokarpada, Panvel; no MW | L&T
MH47 | Permits | Yotta (Hiranandani) | Persipina Developers Pvt Ltd | Bhokarpada, Panvel | Panvel / Raigad | [11 empty] | MPCB CTO for DG sets - Approved (M042) | 0 | No MW | 0 | 4 Permit only (no grid record) | https://mpcb.gov.in/sites/default/files/inline-files/Webhost%20Minutes%20of%203rd%20CAC%20Booklet%20no.%203.pdf |  | CTO for DG sets in the Yotta park - likely part of Yotta NM1/NM2 | Yotta (Hiranandani)
MH48 | Our data | MAHAPREIT (state) | MAHAPREIT | State DC project | Not disclosed | [6 empty] | 200 | Total load MW - EOI stage | A1 |  |  |  | 200 | Other official | 200 | 5 MoU / LoI / EOI | https://mahapreit.in/assets/uploads/tender-ext-65-1786725791.pdf |  | State EOI (A1) - 200 MW total load | MAHAPREIT (state)
MH49 | Our data | Trentar (Dorf Ketal) | Trentar Pvt Ltd | Location not disclosed | Not disclosed | [6 empty] | 500 | IT MW - State LoI + MoU Oct-2026 | A2 |  |  |  | 500 | Other official | 500 | 5 MoU / LoI / EOI | https://www.prnewswire.com/in/news-releases/trentar-signs-30-000-crore-3-3-bn-mou-with-maharashtra-for-500-mw-green-integrated-data-center-park-302899623.html |  | State LoI + MoU Oct-2026 (reported, A2) | Trentar (Dorf Ketal)
MH50 | Our data | Blackstone / AirTrunk | AirTrunk | Raigad-Pen Growth Centre | Panvel / Raigad | [6 empty] | 3000 | IT MW - State Letter of Intent for land (Jun-2026) | A2 |  |  |  | 3000 | Other official | 3000 | 5 MoU / LoI / EOI | https://www.aninews.in/news/business/maharashtra-issues-letter-of-intent-to-airtrunk-for-rs-2-lakh-crore-data-centre-project-in-raigad20260601123602/ |  | State LoI for land (Jun-2026); 3 GW IT - govt action reported (A2) | Blackstone / AirTrunk
MH51 | Our data | ReNew | ReNew Wind Energy | MMR green DC park (Panvel/Taloja/Khalapur) | Panvel / Raigad | [6 empty] | 750 | IT MW - State MoU Oct-2026 | A2 |  |  |  | 750 | Other official | 750 | 5 MoU / LoI / EOI | https://www.business-standard.com/industry/news/renew-signs-mou-with-maharashtra-for-70-000-crore-green-data-centre-park-126100801226_1.html |  | State MoU Oct-2026 (reported, A2) | ReNew
MH52 | Our data | Avisirah | Avisirah Technologies | Navi Mumbai | Navi Mumbai - TTC | [9 empty] | 5.5 | IT MW - Financed - tier D |  | 0 | Unverified | 5.5 | 6 Company claim / announced only | https://propnewstime.com/latestnewsstories/MzY3MDg=/avisirah-raises-inr-75-crore-for-navi-mumbai-data-centre |  | Small - distribution voltage | Avisirah
MH53 | Our data | ESR | ESR | Rabale | Navi Mumbai - TTC | [9 empty] | 60 | Facility MW - Announced - tier D |  | 0 | Unverified | 60 | 6 Company claim / announced only | https://www.crnasia.com/india/news/2026/esr-enters-india-data-centre-market-with-60-mw-facility-in-mumbai |  |  | ESR
MH54 | Our data | L&T (Vyoma) | Larsen & Toubro | Vyoma EL-200 Mahape | Navi Mumbai - TTC | [9 empty] | 100 | IT MW - SEIAA EC application (Oct-2025) - tier A1 | SEIAA EC - On agenda (M031) | 0 | Unverified | 100 | 6 Company claim / announced only | https://www.larsentoubro.com/pressreleases/2026/2026-01-21-larsen-toubro-vyoma-breaks-ground-on-40-mw-green-ai-ready-data-centre-in-navi-mumbai | https://www.ecmpcb.in/login/download_ec_document/MzI2MjVDNjJFNjhGNEFDMkFCRjA0MDc5NDdENUQ3QjMucGRm | EC on agenda (no MW in record); 40 MW of 100 MW campus per L&T release | L&T
MH55 | Our data | Princeton Digital Group | PDG (India) Management | MU1 Airoli (50 live + 100 expansion) + MU2 (120) | Navi Mumbai - TTC | [9 empty] | 270 | IT MW - MU1: MPCB CTO May-2025; MU2: construction started Apr-2026, no permit found - tier C | MPCB Consent to 1st Operate - Approved (M037) | 0 | Unverified | 270 | 6 Company claim / announced only | https://www.datacenterdynamics.com/en/news/pdg-breaks-ground-on-latest-mumbai-data-center/ | https://mpcb.gov.in/sites/default/files/inline-files/Action_Taken_Report_of_1st_CAC_Meeting_Part_I.pdf | MU1 CTO approved (MPCB) but not in SLDC list - may be fed from a park substation; MW is company-stated | Princeton Digital Group
MH56 | Our data | Zerra | Zerra (AGPDC) | Navi Mumbai 29 acres | Navi Mumbai - TTC | [9 empty] | 240 | IT MW - Company claims consents; no government record found - tier C |  | 0 | Unverified | 240 | 6 Company claim / announced only | https://zerradc.com/projects/navi-mumbai/ |  | Company claims consents; no government record found | Zerra
MH57 | Our data | TCC Concept / NES Data | TCC Concept | Hinjewadi, Pune | Pune | [9 empty] | 60 | IT MW - 4 MW operating; land MoU for 60 MW - tier C |  | 0 | Unverified | 60 | 6 Company claim / announced only | https://www.constructionworld.in/policy-updates-and-economic-news/tcc-concept-plans-60-mw-data-centre-campus-in-pune/95832 |  | Small - likely distribution voltage | TCC Concept / NES Data
Column S (VERIFIABLE MW) = first official figure in priority SLDC > CTUIL > other official (A1/A2). Column B = primary record; the chart sheet excludes rows where B = 'CTUIL'. Column Z = group used in the chart.