## T1_State_Incentives
Exhibit 4 - State support for data centers
| Andhra Pradesh | Telangana | Maharashtra | Uttar Pradesh
Basis | Project GOs (capped) | DC Policy 2016 | IT/ITeS Policy 2023 + 2026 GRs | DC Policy 2026
Power tariff | ✓ ₹1/kWh, 15 yrs | ◐ 'At cost of generation' | ✓ ₹1/kWh, 10-20 yrs¹ | ✗
Electricity duty | ✓ 100%, 15-20 yrs | ✗ | ✓ 100%, 20 yrs | ✓ 100%, 10 yrs
Transmission / wheeling | ✓ 100% waiver, 20 yrs | ◐ RE open access ≤1/3 load | ◐ Open access; ≥51% green | ✓ 50-100% waiver, 25 yrs
Capital support | ✓ 10% of equipment + SGST refund | ✗ | ✓ 75% of capex¹ | ✓ 7% of capex (≤₹20 cr)
Land / stamp duty | ✓ 25% off land; 100% stamp | ◐ Subsidised land | ✓ 100% stamp | ✓ 25-50% land; 50-100% stamp
✓ granted ◐ partial / intent only ✗ not offered
1) Green DC parks only: ₹1/kWh for 10 yrs at ≥₹30k cr investment, 20 yrs at ≥₹60k cr; 75% capex subsidy at ≥₹60k cr.
Source: State government policy documents and GOs, press reports
Suggested caption / takeaway (one line):
AP and Maharashtra subsidise the cost of power; none of the states guarantees grid access - connectivity stays with the developer.
What was cut vs the draft (and why)
- Merged 'Power procurement and network charges' into one 'Transmission / wheeling' row; dropped the DDL detail (applies to one AP project).
- Dropped the 'Infrastructure and approvals' row (essential-service status, FSI, parking) - similar in all four states, no differentiation.
- UP capital line cut to the unit-level 7% (≤₹20 cr); park-level interest subsidy and caps moved out (detail, not comparison).
- Footnotes cut from three to one; ticks carry the yes/no, one line of numbers under each tick.
- UP 2026 policy figures are as in your draft - not re-verified here (we have the 2021 policy summary only).

## T2_AP_GO_Benefits
Andhra Pradesh - incentives granted to each data-center project (Government Orders)
| Google (Raiden) GO 40 | Reliance GO 30 / 52 | ReNew GO 55 | Colt DCS-RMZ (DCHI) GO 56 | AM AI Factory GO 59
Capacity (MW) | ~1,000 | Not stated | 1,000 | 486 | 512
Investment (₹ cr) | 87,520 | 1,08,010 | 85,200 | 58,743 | 31,387
Land discount | ✓ 25% | ✓ 25% | ✗ APIIC rate | ✓ 25% (≤₹30 cr) | ✗ At cost
Stamp duty / registration | ✓ 100%² | ✓ 100% | ✓ ≤₹5 cr | ✓ ≤₹7 cr | ✓ ≤₹16 cr
Capital subsidy | ✓ 10%, ₹2,129 cr | ✓ 6%, ₹4,500 cr | ✓ 10%, ₹3,700 cr | ✓ 10%, ₹1,800 cr | ✓ 10%, ₹300 cr
SGST refund - construction | ✓ ₹2,245 cr | ✓ ₹2,527 cr | ✓ ₹5,000 cr³ | ✓ ₹703 cr | ✓ ₹490 cr
SGST refund - leasing | ✓ ₹1,745 cr | ✓ ₹1,800 cr | ✗ | ✓ ₹848 cr | ✗
Power: ₹1/kWh discount | ✓ 10+5 yrs⁴, ₹4,800 cr | ✓ 15 yrs, ₹3,114 cr | ✓ 15 yrs, ₹2,500 cr | ✓ 15 yrs, ₹4,800 cr | ✗
Transmission / wheeling waiver | ✓ 20 yrs, ₹4,000 cr | ✓ 20 yrs, ₹5,000 cr | ✓ 20 yrs, ₹3,000 cr | ✗ | ✓ 20 yrs, ₹1,250 cr
Electricity duty waiver | ✓ 10+5 yrs⁴, ₹1,200 cr | ✓ 15 yrs, ₹187 cr | ✓ 20 yrs, ₹200 cr | ✓ 20 yrs, ₹410 cr | ✓ 20 yrs, ₹90 cr
Cross-subsidy / green-power charges waiver | ✓ 20 yrs, ₹4,500 cr | ✓ Captive solar, 20 yrs | ✗ | ✓ 20 yrs, ₹983 cr | ✓ 20 yrs, ₹3,000 cr
Grid connection cost refund | ✓ ₹500 cr | ✗ | ✗ | ✓ ₹150 cr | ✗
Water tariff subsidy | ✓ 25%, 10 yrs, ₹12 cr | ✓ 15%, 10 yrs, ₹552 cr | ✗ | ✓ 25%, 10 yrs, ₹2 cr | ✗
Fibre (OPGW) 30% discount | ✓ 20 yrs, ₹282 cr | ✓ 20 yrs, ₹1,221 cr | ✗ | ✓ 20 yrs, ₹142 cr | ✓ 20 yrs, ₹30 cr
Right-of-way charges waiver | ✓ ₹175 cr | ✓ ₹200 cr | ✗ | ✓ ₹85 cr | ✗
Power trading / distribution licence help | ✗ | ✗ | ✗ | ✓ | ✗
Govt cloud procurement | ✓ Google Cloud considered | ✗ | ✗ | ✗ | ✗
Total capped incentives (₹ cr) | 22,002⁵ | 19,102 | 14,405 | 9,966 | 5,176
Caps as % of investment | 25% | 18% | 17% | 17% | 16%
Caps per MW (₹ cr) | 22.0 | n/a | 14.4 | 20.5 | 10.1
✓ granted (cap / period below) ✗ not in the GO. Caps are maximum ₹ cr over the period, nominal.
1) All GOs read in full: ITE&C G.O.Ms. 40 (11-10-2025, from the AP GO register), 30 & 52, 55, 56, 59 (2026).
2) Google: G.O.Ms. 472 (Revenue, 30-07-2026) waived ₹20.6 cr stamp duty + ₹2.6 cr registration for the three Adani Infra SPVs holding the sites.
3) ReNew: 100% net SGST on capital investment (not construction-only).
4) Google: first 10 yrs; +5 yrs on meeting investment and capacity milestones. Energy incentives given on a 'discounted model' (ITE&C to settle with Energy Dept).
5) Google: overall cap stated in GO 40 (individual caps sum to ₹21,588 cr). Incentives extend to notified partners - Adani Infra, AdaniConneX, Adani Power, Airtel, Nxtra (GO 66).
Grid connection: APTRANSCO only 'facilitates'; the developer bears the cost except Google (≤₹500 cr) and DCHI (≤₹150 cr), whose costs are refunded.
Source: AP ITE&C G.O.Ms. 40, 66 (2025); 30, 52, 55, 56, 59 (2026); Revenue G.O.Ms. 472 (2026)

## T3_Summary_Firm_vs_Headline
Data-center power: headline pipeline vs firm and approved (GW)
Centre / state | Headline in note (GW) | Firm & approved for DC (GW) | Firm + in grid queue (GW) | What is counted as firm | Main items NOT firm
Centre - ISTS (CTUIL) | 8.7 | 1.47 | 6.6 | Support Properties (AdaniConneX), Navi Mumbai: 1,468 MW approved | DC-linked applications under process: Adani Telangana SPVs 2.4, TCS 1.55, SITAC 0.64, Adani Infra 0.55; Blueparrot 2.08 (end use not stated)
Maharashtra (state grid) | 12.6 | 6.5 | 8 | STU-sanctioned load 6.0 GW (SLDC, Dec-25) + 0.5 GW added at Ambernath (MERC, Jun-26) | MERC 1.5 GW under consideration; MoU/LoI 4.45 GW (AirTrunk Pen 3.0, ReNew 0.75, Trentar 0.5, MAHAPREIT 0.2)
Andhra Pradesh | 6.5 | 3.6 | 5 | GO-approved with MW stated: Google ~1.0, ReNew 1.0, Sify 0.55, AM AI 0.51, Colt DCS-RMZ 0.49, CtrlS 0.1 | Reliance (GO approved, MW not stated; 1.5 GW only in registry); Google sites at 2.1 GW grid MW in ECs vs ~1 GW in GO
Telangana | 3.3 | 0.3 | 0.3 | Peddavedu 278 MW (SEIAA EC); AdaniConneX Hyderabad 19 MW operating | Fortune 2,000 MVA (developer claim); MoUs - CtrlS 0.4, NTT-Neysa 0.4, STT 0.1, UPC-Volt 0.1
Tamil Nadu | 1.4 | 0.17 | 0.17 | 170 MVA connected to DCs statewide (Energy Policy Note 2025-26) | Ambattur 400 kV S/s, 1,400 MVA - proposed, tender stage
Others (UP, Odisha, Karnataka, Haryana, Gujarat, WB) | 3 | 1.3 | 1.3 | Odisha HLCA approvals 1.12 (Adani 1.0, Sentraforge 0.12 - no grid record yet); UP 0.13 commercialised; Haryana 0.03 built | UP proposed 0.44; Karnataka Hoskote park 0.5; WB 0.28; Reliance-Meta Jamnagar 0.17; Haryana 0.28
Total | 35.5 | 13.34 | 21.37
Firm as % of headline |  | 37.58% | 60.2%
How the numbers were built (no double counting)
1) Each project is counted once. Where a project appears both in CTUIL and in a state, it sits in the state row: Google's Vizag SPVs (CTUIL 2.3 GW) are in AP; TCS HyperVault Telangana (CTUIL 1.55 GW) and Adani's Telangana SPVs are in the CTUIL row (state MoUs for them removed from Telangana).
2) CTUIL row = DC-linked bulk-consumer applications only (Adani DC SPVs, TCS, SITAC, Adani Infra, Blueparrot) after moving Google's AP SPVs to AP. Excluded as not DC: Reliance Jamnagar 14.65 GW (mixed - refinery, giga-factories, green fuels, DCs), ACME 10.1 GW (green ammonia), NTPC 3.6 GW (green H2), Mundra Petrochem 1.14 GW (PVC), steel / aluminium / cement / railways.
3) Maharashtra headline = verifiable non-CTUIL list (SLDC 6.0 + MERC 2.0 + permit 0.1 + state MoU/LoI 4.45). Firm = SLDC sanctioned + MERC granted increase.
4) Firm = grid connectivity approved / sanctioned (CTUIL, STU, MERC) or a state GO / EC / HLCA approval stating MW for a DC. Not firm = MoU, LoI, EOI, announcements, developer claims, applications under process.
5) 'Firm + in grid queue' adds DC applications that have a formal grid application pending (CTUIL under process excl. Blueparrot; Google Vizag SPVs 2.3 GW applied vs ~1.0 GW firm, so +1.3 GW in AP; MERC 1.5 GW under consideration).
6) Units are mixed: grid / facility MW (CTUIL, SLDC, MERC, ECs) and 'MW data center' in AP GOs (likely IT). IT load is ~55-65% of facility load (SLDC) - firm 13 GW of mostly facility MW is ~8-10 GW IT.
7) Timing: in Maharashtra ~52% of STU-sanctioned DC load is scheduled for 2025-28 and the rest to 2036 (SLDC). Realised today: 0.7 GW in MH; average drawn 0.2 GW.